ORDER

№ A 210

Sofia, 18.03.2022

INSPECTION BODY TYPE C “EL MASRI”

DIAGNOSTIC-CONSULTING CENTER "EL MASRI" OOD, BURGAS

Address of management and office: 8000 Burgas, complex “Lazur”, bl. 158, fl. 1

To perform inspection of the following scope:

Scope type: flexible *

| № | Field of Inspection | Type of Inspection | Parameter of Inspection / Characteristic | Test and Measurement Methods Used During Inspection/ Inspection procedures | Regulations, Standards, Specifications, Inspection schemes |
| --- | --- | --- | --- | --- | --- |
| 1. | Artificial light of the working environment, in residential and public buildings | Primary and / or periodic control of new and / or in use / operation sites / facilities | lighting | Methodical instructions for measurement and evaluation of artificial lighting in buildings 40-85; РП 04-01 | Regulation № 9, SG, issue 6/1994, Regulation № 2, SG, issue 15/2007, Regulation № 24, SG, issue 95/2003, Regulation № 49, SG, issue 7/1976, БДС EN 12464-1; TS |
| 2. | Microclimate of work and living environment | Primary and / or periodic control of new and / or in use / operation sites / facilities | Air temperature. Relative humidity. Air velocity | Regulation № РД 07-3, SG, issue 63/2014 БДС 16686, РП 04-02 | Regulation № РД 07-3, SG, issue 63/2014. Regulation № 9, SG, issue 6/1994, Regulation № 2, SG, issue15/2007, Regulation № 24, SG, issue 95/2003, БДС 14776, TS |
| 3. | Noise in the working environment. | Primary and / or periodic control of new and / or in use / operation sites / facilities | Noise level, equivalent noise level, daily noise exposure level, average weekly noise exposure level. Peak sound pressure level | БДС EN ISO 9612 (БДС EN 1999) PП 04-04 | Regulation № 6, SG, issue 70/2005, TS |
| 4. | Noise in residential and public buildings | Primary and / or periodic control of new and / or in use / operation sites / facilities | Noise level, equivalent noise level | БДС 15471 РП 04-03 | Regulation № 6, SG, issue 58/2006 (annex 2, table 1) Regulation № 9, SG, issue 46/1994 Regulation № 24, SG, issue 95/2003 Regulation № 2, SG, issue 15/2007; TS |
| 5. | Chemical agents in the work environment | Primary and / or periodic control of new and / or in use / operation sites / facilities | Concentration of chemical agents in the air of the working environment | Methodical instructions for determination of toxic gases and vapors in the air of the working environment by linear calorimetric methods: book 2, Medical academy Publishing house, Scientific Institute of Hygiene and Occupational Diseases, “Higitest” Association, 1987 БДС EN 482; БДС EN 689+AC; РП 04-05 | Regulation № 13, SG, issue 8/2004, TS |
| 6. | Dust in the air of the working environment | Primary and / or periodic control of new and / or in use / operation sites / facilities | Concentration of inhalable fraction of fibrous powders | БДС EN 482 БДС 2200; БДС EN 689+AC; РП 04-06 | Regulation № 13, SG, issue 8/2004, TS |

* The introduction of a new version of standards / documents or standards / documents that replace them is allowed. An up-to-date list of standards / documents with their dated versions is provided by the Conformity assessment bodies.

Regulation № 9 on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of students (SG No. 46/1994);

Regulation № 2 on the health requirements for computers and Internet halls for public use (SG, issue 15/2007);

Regulation № 24 on the sanitary and hygienic requirements for disco clubs (SG, issue 95/2003);

Regulation № 49 for artificial lighting of buildings (SG, issue 7/1976);

Regulation № РД-07-3 on the minimum requirements for the microclimate of workplaces (SG, issue 63 / 10.08.2014);

Regulation № 6 on environmental noise indicators, considering the degree of discomfort during the different parts of the day, the limit values of environmental noise indicators, the methods for assessing the values of noise indicators and the harmful effects of noise on public health (SG, issue 58/2006);

Regulation № 6 on minimum requirements to ensure the health and safety of workers from the risks related to noise exposure (SG, issue 70/2005);

Наредба № 13 за защита на работещите от рискове, свързани  с експозиция на химични агенти  при работа (ДВ бр. 8/2004 г.);

Methodological guidelines for the measurement and evaluation of artificial lighting in buildings 40-85; Proceedings of the National Centre for Hygiene, Medical Ecology and Nutrition Methods, Volume IV, Edition Standardization, 1985;

Methodical instructions for determination of toxic gases and vapours in the air of the working environment by linear-colometric methods, book 2, publishing house Medical Academy, Research Institute of Hygiene and Occupational Diseases, Hygitest Association, 1987;

ТС – техническа спецификация.