SCOPE 270 ЛИ

of Groma Hold Ltd.

Construction testing laboratory

Management address:

2709 Belo Pole, Production Plant of Groma Hold Ltd.

Laboratory addresses:

STATIONARY OFFICE (Office 1): 2709 Belo Pole, Poleto Location,

Production Plant of Groma Hold Ltd.

MOBILE OFFICE (Office 2): 3100 Mezdra, 92A Hristo Botev Str.

I. STATIONARY OFFICE (Office 1):

2709 Belo Pole, Poleto Location, Production Plant of Groma Hold Ltd.

To perform testing of:

| - Type of scope: flexible |  |  |  |  |
| --- | --- | --- | --- | --- |
| - № | - Tested products | - Type of test / characteristic |  | Testing methods - (standard / validated methods) |
| - 1 | - 2 | - 3 |  | - 4 |
| - 1. | - Aggregates | - 1.1. | - Particle size distribution | - БДС EN 933-1 |
|  |  | - 1.2. | - Fines content | - БДС EN 933-1 |
|  |  | - 1.3. | Percentage of: - totally crushed particles; - crushed particles; - - totally rounded particles; | БДС EN 933-5 |
|  |  | - 1.4. | - Overall flakiness index | - БДС EN 933-3 |
|  |  | - 1.5. | - Shape index | - БДС EN 933-4 |
|  |  | - 1.6. | - Sand equivalent | - БДС EN 933-8+A1 |
|  |  | - 1.7. | - Methylene blue value | - БДС EN 933-9 |
|  |  | - 1.8. | - Coefficient – Micro Deval | - БДС EN 1097-1 |
|  |  | - 1.9. | - Coefficient – Los Angeles | - БДС EN 1097-2 |
|  |  | - 1.10. | - Resistance to fragmentation | - БДС EN 206+А2/NA, annex NA.Q |
|  |  | - 1.11. | - Мass loss during cyclic freezing - thawing | - БДС EN 1367-1 |
|  |  | - 1.12. | - Magnesium sulfate value | - БДС EN 1367-2 |
|  |  | - 1.13. | - Loose bulk density. - Percentage of voids. | - БДС EN 1097-3 |
|  |  | - 1.14. | Particle density - apparent particle density; - oven-dried particle density; - saturated and surface-dried article density - pre-dried particle density; - - particle density saturated to constant mass | БДС EN 1097-6 clause 7, 8, 9 Annex А - clause А.3, А.4 - Annex В |
|  |  | - 1.15. | - Water absorption | БДС EN 1097-6 clause 7, 8, 9 - Annex В |
|  |  | - 1.16. | - Degree of bitumen coverage (Affinity between aggregate and bitumen) | БДС EN 12697-11, - Boiling water stripping method |
|  |  | - 1.17. | - California bearing ratio /CBR/ | - БДС EN 13286-47 |
|  |  | - 1.18. | - Maximum density of the skeleton. Optimum water content | - БДС EN 13286-2 |
|  |  | - 1.19. | - Water content | - БДС EN 1097-5 |
|  |  | - 1.20. | Plastic limit. - Plasticity index. | AASHTO T 90 Ordinance № РД-02-20-2, SG № 79/2018 • Annex № 16 to article 160, item 3* - БДС EN ISO 17892-12 |
|  |  | - 1.21. | - Liquid limit | AASHTO T89 Ordinance № РД-02-20-2, SG № 79/2018 • Annex № 15 to article 160, item 3* БДС EN ISO 17892-12, Casagrande method |
|  |  | - 1.22. | - Presence of humus | - БДС EN 1744-1+A1 |
|  |  | - 1.23. | - Percentage of lightweight particles | - БДС EN 1744-1+A1 |
|  |  | - 1.24. | - Deformation module | - Ordinance 55, art. 47 |
| - 2. | - Filler | - 2.1. | - Particle size distribution | - БДС EN 933-1 |
|  |  | - 2.2. | - Methylene blue value | - БДС EN 933-9+А1 |
|  |  | - 2.3. | - Water content | - БДС EN 1097-5 |
|  |  | - 2.4. | - Loose bulk density | - БДС EN 1097-3 |
|  |  | - 2.5. | - Voids | - БДС EN 1097-4 |
|  |  | - 2.6. | - Particle density | - БДС EN 1097-7 |
| - 3. | - Bituminous mixtures | - 3.1. | - Particle size distribution | - БДС EN 12697-2+А1 |
|  |  | - 3.2. | - Soluble binder content | - БДС EN 12697-1 |
|  |  | - 3.3. | - Bulk density | - БДС EN 12697-6 |
|  |  | - 3.4. | - Indirect tensile strength | - БДС EN 12697-23 |
|  |  | - 3.5. | - Indirect tensile strength ratio | - БДС EN 12697-12, method A |
|  |  | - 3.6. | - Dimensions of asphalt test specimen | - БДС EN 12697-29 |
|  |  | - 3.7. | - Maximum density | - БДС EN 12697-5 |
|  |  | - 3.8. | - Air voids content | - БДС EN 12697-8 |
|  |  | - 3.9. | - Stability | - БДС EN 12697-34 |
|  |  | - 3.10. | - Flow | - БДС EN 12697-34 |
|  |  | - 3.11. | - Binder drainage | БДС EN 12697-18, - Beaker method |
|  |  | - 3.12. | - Temperature | БДС EN 12697-13 |
|  |  | - 3.13. | - Voids content in the mineral aggregate | - БДС EN 12697-8 |
|  |  | - 3.14. | - Percentage of voids in the mineral aggregate filled with binder | - БДС EN 12697-8 |
| - 4. | - Bitumens | - 4.1. | - Penetration | - БДС EN 1426 |
|  |  | - 4.2. | - Softening point | - БДС EN 1427 |
|  |  | - 4.3. | - Elastic recovery | - БДС EN 13398 |
|  |  | - 4.4. | - Flash point | - БДС EN ISO 2592 |
|  |  | - 4.5. | Resistance to hardening RTFOT method: - retained penetration at 25 оС - change in softening point - - change in mass | - БДС EN 12607-1 |
|  |  | - 4.6. | - Fraass breaking point | - БДС EN 12593 |
|  |  | - 4.7. | - Storage stability -difference in the softening point of top and bottom layer. | - БДС EN 13399 |
|  |  | - 4.8. | - Density | БДС EN 15326+A1 |
|  |  | - 4.9. | - Solubility | - БДС EN 12592 |
|  |  | - 4.10. | - Deformation energy by the force ductility method | БДС EN 13589 |
| - 5. | - Fresh concretes | - 5.1. | - Slump | - БДС EN 12350-2 |
|  |  | - 5.2. | - Slump – Vebe test | - БДС EN 12350-3 |
|  |  | - 5.3 | - Density | - БДС EN 12350-6 |
| - 6. | - Concrete | - 6.1. | - Compressive strength | БДС EN 12390-3 - БДС EN 12504-1 |
|  |  | - 6.2. | - Flexural strength | - БДС EN 12390-5 |
|  |  | - 6.3. | - Tensile splitting strength | - БДС EN 12390-6 |
|  |  | - 6.4. | - Density | - БДС EN 12390-7 |
|  |  | - 6.5. | - Depth of penetration of water under pressure | - БДС EN 12390-8 |
|  |  | - 6.6. | Resistance to frost during direct freezing and thawing: - Relative loss of mass; - - Relative loss of strength; | - БДС EN 206+А2/NA, annex NA.O |
|  |  | - 6.7. | - Rebound number | - БДС EN 12504-2 |
| - 7. | - Cement | - 7.1. | - Strength | - БДС EN 196-1 |
|  |  | - 7.2. | - Setting time | - БДС EN 196-3 |
|  |  | - 7.3. | - Soundness | - БДС EN 196-3 |
|  |  | - 7.4. | - Standard consistency | - БДС EN 196-3 |
| - 8. | - Construction soils | - 8.1. | - Particle size distribution | AASHTO T 88 - БДС EN 933-1 |
|  |  | - 8.2. | - Fines content | - БДС EN 933-1 |
|  |  | - 8.3. | Plastic limit. - Plasticity index. | БДС EN ISO 17892-12 AASHTO T90 Ordinance № РД-02-20-2, SG № 79/2018 - • Annex № 16 to article 160, item 3* |
|  |  | - 8.4. | - Liquid limit | БДС EN ISO 17892-12 - Casagrande method AASHTO T89 - Ordinance № РД-02-20-2, SG № 79/2018 - • Annex № 15 to article 160, item 3* |
|  |  | - 8.5. | - Maximum density of the skeleton. - Optimum water content | БДС 17146 БДС EN 13286-2 |
|  |  | - 8.6. | - California bearing ratio /CBR/ | - БДС EN 13286-47 |
| - 9. | - Earth and rock embarkments and foundations (base layers) | - 9.1. | - Elastic module | - БДС 15130 |
|  |  | - 9.2. | - Deformation module | - БДС 15130 |
|  |  | - 9.3. | - Deformation modules ratio | - БДС 15130 |
|  |  | - 9.4. | Bulk density of the skeleton by the sand-replacement method. - Compaction degree. | - Ordinance № РД-02-20-2, SG № 79/2018 - •Annex № 18* |
| - 10. | - Road pavements | - 10.1. | - Thickness of asphalt layer | БДС EN 12697–36, - Destructive method |
|  |  | - 10.2. | - Compaction degree | - БДС EN 12697-9** |
|  |  | - 10.3. | - Irregularities of pavement course | - БДС EN 13036-7 |
|  |  | - 10.4. | - Bulk density of asphalt test specimen (core) | - БДС EN 12697-6 |
|  |  | - 10.5. | - Conventional reference density | БДС EN 12697-9** |
| - 11. | - Concrete elements | - 11.1. | - Dimensions |  |
|  |  |  | - - paving blocks | БДС EN 1338/AC |
|  |  |  | - - paving flags | БДС EN 1339/AC |
|  |  |  | - - kerb units | БДС EN 1340/AC |
|  |  | - 11.2. | - Splitting strength | БДС EN 1338/AC |
|  |  | - 11.3. | - Water absorptions |  |
|  |  |  | - - paving blocks | БДС EN 1338/AC |
|  |  |  | - - paving flags | БДС EN 1339/AC |
|  |  |  | - - kerb units | БДС EN 1340/AC |
|  |  | - 11.4. | Bending strength - paving flags - - kerb units | БДС EN 1339/AC БДС EN 1340/AC |
| - 12. | - Waterproofings | - 12.1. | - Adhesion pull-off strength | - ASTM D7234 |
|  |  | - 12.2. | - Tensile strength | - Technical Rules on the Design and Technology for the Construction of the Waterproofing of Reinforced Concrete Bridges of the Chief Office Roards dated 1997, Annex 1 |
| - 13. | - Unbound mixtures | - 13.1. | - Particle size distribution | - БДС EN 933-1 |
|  |  | - 13.2. | - Fines content | - БДС EN 933-1 |
|  |  | - 13.3. | - Water content | - БДС EN 1097-5 |
|  |  | - 13.4. | - Maximum bulk density of the skeleton. - Optimum water content | БДС EN 13286-2 - БДС 17146 |
|  |  | - 13.5. | - California bearing ratio | - БДС EN 13286-47 |
|  |  | - 13.6. | - Magnesium sulfate value | - БДС EN 1367-2 |
|  |  | - 13.7. | Plastic limit. - Plasticity index. | БДС EN ISO 17892-12 AASHTO T90 Ordinance № РД-02-20-2, SG № 79/2018 • Annex № 16 to article 160, item 3* |
|  |  | - 13.8. | - Liquid limit | БДС EN ISO 17892-12 - Casagrande method AASHTO T89 - Ordinance № РД-02-20-2, SG № 79/2018 - • Annex № 15 to article 160, item 3* |
|  |  | - 13.9. | Elastic module. Deformation module. - Deformation modules ratio | - БДС 15130 |
| - 14. | - Hydraulically bound mixtures | - 14.1. | - Particle size distribution | - БДС EN 933-1 |
|  |  | - 14.2. | - Water content | - БДС EN 1097-5 |
|  |  | - 14.3. | - Maximum bulk density of the skeleton. - Optimum water content | БДС EN 13286-2 - БДС 17146 |
|  |  | - 14.4. | - Compressive strength | БДС EN 13286-41 |
|  |  | - 14.5. | - Laying time (workability period) | БДС EN 13286-45 |
|  |  | - 14.6. | - California bearing ratio | - БДС EN 13286-47 |
|  |  | - 14.7. | - Immediate bearing index | - БДС EN 13286-47 |
|  |  | - 14.8. | - Linear swelling | - БДС EN 13286-47 |
|  |  | - 14.9. | Bulk density of the skeleton by the sand-replacement method | - Ordinance № РД-02-20-2 - •Annex № 18* |
|  |  | - 14.10. | - Compaction degree | - Ordinance № РД-02-20-2 - •Annex № 18* |

- To perform sampling of:

| - Type of scope: flexible |  |  |
| --- | --- | --- |
| - № | - Product | - Sampling methods - (standard / validated methods) |
| - 1 | - 2 | - 3 |
| - 1. | - Aggregates | - БДС EN 932-1 – sampling from stockpiles |
| - 2. | - Filler | - БДС EN 932-1 – sampling from stockpiles and with and with sampling tube (spear) |
| - 3. | - Bituminous mixtures | - БДС EN 12697-27 – sampling from a lorry load of material |
| - 4. | - Bitumens | - БДС EN 58 – sampling from the surface of road tankers |
| - 5. | - Construction soils | - БДС EN 932-1 – sampling from stockpiles |
| - 6. | - Fresh concretes | - БДС EN 12350-1 |
| - 7. | - Cement | - БДС EN 196-7 – sampling of cement from bulk transport (after loading or before unloading) |
| - 8. | - Road pavements | - БДС EN 12697-27 – sampling of laid and compacted materials by coring |
| - 9. | - Concrete elements | - БДС EN 1338/AC |
|  |  | - БДС EN 1339/AC |
|  |  | - БДС EN 1340/AC |
| - 10. | - Concrete | - БДС EN 12504-1 |
| - 11. | - Unbound mixtures | - БДС EN 932-1 – sampling from stockpiles |
| - 12. | - Hydraulically bound mixtures | - БДС EN 932-1 – sampling from stockpiles |

II. MOBILE OFFICE (Office 2): 3100 Mezdra, 92 A Hristo Botev Str.

To perform testing of:

| - Type of scope: flexible |  |  |  |  |
| --- | --- | --- | --- | --- |
| - № | - Tested products | - Type of test / characteristic |  | Testing methods - (standard / validated methods) |
| - 1 | - 2 | - 3 |  | - 4 |
| - 1. | - Aggregates | - 1.1. | - Particle size distribution | - БДС EN 933-1 |
|  |  | - 1.2. | - Fines content | - БДС EN 933-1 |
|  |  | - 1.3. | - Overall flakiness index | - БДС EN 933-3 |
|  |  | - 1.4. | - Shape index | - БДС EN 933-4 |
|  |  | - 1.5. | - Sand equivalent | - БДС EN 933-8+A1 |
|  |  | - 1.6. | Particle density - apparent particle density; - oven-dried particle density; - saturated and surface-dried article density - pre-dried particle density; - - particle density saturated to constant mass | БДС EN 1097-6 clause 7, 8, 9 Annex А - clause А.3, А.4 - Annex В |
|  |  | - 1.7. | - Water absorption | БДС EN 1097-6 clause 7, 8, 9 - Annex В |
|  |  | - 1.8. | - California bearing ratio /CBR/ | - БДС EN 13286-47 |
|  |  | - 1.9. | - Maximum density of the skeleton. Optimum water content | - БДС EN 13286-2 |
|  |  | - 1.10. | - Съдържание на вода | - БДС EN 1097-5 |
|  |  | - 1.11. | Plastic limit. - Plasticity index. | Ordinance № РД-02-20-2, SG № 79/2018 • Annex № 16 to article 160, item 3* - БДС EN ISO 17892-12 |
|  |  | - 1.12 | - Liquid limit | Ordinance № РД-02-20-2, SG № 79/2018 • Annex № 15 to article 160, item 3* - БДС EN ISO 17892-12, Casagrande method |
|  |  | - 1.13. | - Deformation module | - Ordinance 55, art. 47 |
| - 2. | - Bituminous mixtures | - 2.1. | - Particle size distribution | БДС EN 12697-2+А1 |
|  |  | - 2.2. | - Soluble binder content | БДС EN 12697-1 |
|  |  | - 2.3. | - Bulk density | БДС EN 12697-6 |
|  |  | - 2.4. | - Dimensions of asphalt test specimen | БДС EN 12697-29 |
|  |  | - 2.5. | - Maximum density | БДС EN 12697-5 |
|  |  | - 2.6. | - Air voids content | БДС EN 12697-8 |
|  |  | - 2.7 | - Stability | БДС EN 12697-34 |
|  |  | - 2.8. | - Flow | БДС EN 12697-34 |
|  |  | - 2.9. | - Temperature | БДС EN 12697-13 |
| - 3. | - Bitumens | - 3.1. | - Penetration | - БДС EN 1426 |
|  |  | - 3.2. | - Softening point | - БДС EN 1427 |
|  |  | - 3.3. | - Elastic recovery | - БДС EN 13398 |
| - 4. | - Fresh concretes | - 4.1. | - Slump | - БДС EN 12350-2 |
|  |  | - 4.2 | - Density | - БДС EN 12350-6 |
| - 5. | - Construction soils | - 5.1. | - Particle size distribution | - БДС EN 933-1 |
|  |  | - 5.2. | - Fines content | - БДС EN 933-1 |
|  |  | - 5.3. | Plastic limit. - Plasticity index. | Ordinance № РД-02-20-2, SG № 79/2018 - • Annex № 16 to article 160, item 3* |
|  |  | - 5.4. | - Liquid limit | - Ordinance № РД-02-20-2, SG № 79/2018 - • Annex № 15 to article 160, item 3* |
|  |  | - 5.5. | - Maximum density of the skeleton. - Optimum water content | БДС 17146 БДС EN 13286-2 |
|  |  | - 5.6. | - California bearing ratio /CBR/ | - БДС EN 13286-47 |
| - 6. | - Earth and rock embarkments and foundations (base layers) | - 6.1. | - Elastic module | - БДС 15130 |
|  |  | - 6.2. | - Deformation module | - БДС 15130 |
|  |  | - 6.3. | - Deformation modules ratio | - БДС 15130 |
|  |  | - 6.4. | Bulk density of the skeleton by the sand-replacement method. - Compaction degree. | - Ordinance № РД-02-20-2, SG № 79/2018 - •Annex № 18* |
| - 7. | - Road pavements | - 7.1. | - Thickness of asphalt layer | БДС EN 12697–36, - Destructive method |
|  |  | - 7.2. | - Compaction degree | - БДС EN 12697-9** |
|  |  | - 7.3. | - Irregularities of pavement course | - БДС EN 13036-7 |
|  |  | - 7.4. | - Bulk density of asphalt test specimen (core) | - БДС EN 12697-6 |
|  |  | - 7.5. | - Conventional reference density | БДС EN 12697-9** |
| - 8. | - Unbound mixtures | - 8.1. | - Particle size distribution | - БДС EN 933-1 |
|  |  | - 8.2. | - Fines content | - БДС EN 933-1 |
|  |  | - 8.3. | - Water content | - БДС EN 1097-5 |
|  |  | - 8.4. | - Maximum bulk density of the skeleton. - Optimum water content | БДС EN 13286-2 - БДС 17146 |
|  |  | - 8.5. | - California bearing ratio | - БДС EN 13286-47 |
|  |  | - 8.6. | - Magnesium sulfate value | - БДС EN 1367-2 |
|  |  | - 8.7. | Plastic limit. - Plasticity index. | БДС EN ISO 17892-12 Ordinance № РД-02-20-2, SG № 79/2018 • Annex № 16 to article 160, item 3* |
|  |  | - 8.8. | - Liquid limit | БДС EN ISO 17892-12 - Casagrande method - Ordinance № РД-02-20-2, SG № 79/2018 • Annex № 15 to article 160, item 3* |
|  |  | - 8.9. | Elastic module. Deformation module. - Deformation modules ratio | - БДС 15130 |
| - 9. | - Hydraulically bound mixtures | - 9.1. | - Particle size distribution | - БДС EN 933-1 |
|  |  | - 9.2. | - Water content | - БДС EN 1097-5 |
|  |  | - 9.3. | - Maximum bulk density of the skeleton. - Optimum water content | БДС EN 13286-2 - БДС 17146 |
|  |  | - 9.4. | - California bearing ratio | - БДС EN 13286-47 |
|  |  | - 9.5. | - Immediate bearing index | - БДС EN 13286-47 |
|  |  | - 9.6. | - Linear swelling | - БДС EN 13286-47 |
|  |  | - 9.7. | Bulk density of the skeleton by the sand-replacement method | - Ordinance № РД-02-20-2, Annex № 18* |
|  |  | - 9.8. | - Compaction degree | - Ordinance № РД-02-20-2, Annex № 18* |

To perform sampling of:

| - Type of scope: flexible |  |  |
| --- | --- | --- |
| - № | - Name of product | - Method of sampling - (standard / validated methods) |
| - 1 | - 2 | - 3 |
| - 1. | - Aggregates | - БДС EN 932-1 – sampling from stockpiles |
| - 2. | - Bituminous mixtures | - БДС EN 12697-27 – sampling from a lorry load of material |
| - 3. | - Bitumens | - БДС EN 58 – sampling from the surface of road tankers |
| - 4. | - Construction soils | - БДС EN 932-1 – sampling from stockpiles |
| - 5. | - Fresh concretes | - БДС EN 12350-1 |
| - 6. | - Road pavements | - БДС EN 12697-27 – sampling of laid and compacted materials by coring |
| - 7. | - Concrete | - БДС EN 12504-1 |
| - 8. | - Unbound mixtures | - БДС EN 932-1 – sampling from stockpiles |
| - 9. | - Hydraulically bound mixtures | - БДС EN 932-1 – sampling from stockpiles |

Flexible scope: Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

** БДС EN 12697-9:2004 is repealed but not replaced standard with regard to the testing method.

*References:

MRDPW Ordinance № РД-02-20-2, SG № 79/2018,

•Annex № 15 to art. 160, item 3: Method for determination of liquid limit of soils;

MRDPW Ordinance № РД-02-20-2, SG № 79/2018,

•Annex № 16 to art. 160, item 3: Method for determination of plastic limit and plasticity index of soils;

MRDPW Ordinance № РД-02-20-2, SG № 79/2018,

•Annex № 18 to art. 168, para. 1: Method for determining the bulk density of construction soils in situ by substitute sand.