SCOPE 9 ЛИ

of TESTING LABORATORY DIRECTORATE

at EUROTEST-CONTROL EAD

Management and Laboratory Address: 1517 Sofia, Poduyane, 108 Besarabia Str.

To perform testing of:

| Type of the scope: flexible for part of the scope |
| --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Water: drinking(1), mineral(2), surface(З), ground(4), from swimming pools(5), waste(6) | 1.1. Odor | БДС 17.1.4.01*(6) БДС 8451* (1÷5) |
|  |  | 1.2. Taste | БДС 8451* (1,2,4) |
|  |  | 1.3. Temperature | БДС 8451* (1,2÷4) БДС 17.1.4.01* (6) |
|  |  | 1.4. Color | БДС 8451* (1,2÷5) БДС 17.1.4.01* (6) |
|  |  | 1.5. Turbidity | ETC 7.1.3-28/2021 (1÷4,6) |
|  |  | 1.6. рН | БДС EN ІSO 10523 (ІSO 10523)* (1÷6) |
|  |  | 1.7. Oxidation reduction potential (Eh) | ASTM D 1498* (2÷4,6) |
|  |  | 1.8. Electrical conductivity | БДС EN 27888 (cl. 7.2) (EN 27888 (cl. 7.2)* (1÷6) |
|  |  | 1.9. Total dry residue | БДС 17.1.4.04* (2÷4,6) БДС 3546* (1) |
|  |  | 1.10. Total mineralization | ETC 7.1.3-44/2014 (1÷4,6) |
|  |  | 1.11. Total dissolved substances (TDS) | БДС 17.1.4.04* (1,3,4,6) БДС EN 15216 (EN 15216)* (3,6) |
|  |  | 1.12. Undissolved solids | БДС 17.1.4.04* (2÷6) |
|  |  | 1.13. Suspended solids | БДС EN 872 (EN 872)* (1,3,4,6) |
|  |  | 1.14. Permanganate oxidation | БДС 17.1.4.16* (2÷6) БДС 3413* (1,2,5) |
|  |  | 1.15. Chemical oxygen demand (COD) | ETC 7.1.3-25/2010 (1÷6) |
|  |  |  | БДС ISO 15705 (ISO 15705)* (1÷6) |
|  |  | 1.16. Biochemical oxygen demand after n days (BODn) | БДС EN ISO 5815-1 (cl. 9.6.1) (ISO 5815-1 (cl. 9.6.1)* (1,3,4,6) |
|  |  |  | БДС EN ISO 5815-1 (cl. 9.6.2) (ISO 5815-1 (cl. 9.6.2)* (1,3,4,6) |
|  |  |  | БДС EN 1899-2 (cl. 7.2.1) (EN 1899-2 (cl. 7.2.1)* (1,3,4,6) |
|  |  |  | БДС EN 1899-2 (cl. 7.2.2) (EN 1899-2 (cl. 7.2.2)* (1,3,4,6) |
|  |  | 1.17. Dissolved oxygen - % saturation | БДС EN 25813 (EN 25813)* (1,3,4,6) |
|  |  |  | БДС EN ISO 5814 (ISO 5814)* (1,3,4,6) |
|  |  | 1.18. Total hardness | БДС ІSO 6059 (ІSO 6059)* (1÷5) |
|  |  |  | EPA 130.2* (6) |
|  |  | 1.19. Calcium/Са | БДС ІSO 6058 (ІSO 6058)* (1÷5) |
|  |  |  | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.20. Magnesium/Mg | БДС ІSO 6059 (ІSO 6059)* (1÷5) |
|  |  |  | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.21. Carbonates | ETC 7.1.3-6/2014 (1÷4,6) БДС EN ISO 9963-1 (ISO 9963-1)* (1÷4,6) |
|  |  | 1.22. Hydrogencarbonates |  |
|  |  | 1.23. Alkalinity |  |
|  |  | 1.24. Carbonate hardness | ETC 7.1.3-6/2014 (1÷4,6) |
|  |  | 1.25. Nitrogen (total) | ETC 7.1.3-19/2010 (3,4,6) |
|  |  | 1.26. Kjeldahl Nitrogen | БДС EN 25663 (EN 25663)*(3,6) |
|  |  | 1.27. Ammonium ions/ Ammonium (NH4+) | ETC 7.1.3-18/2010 (1÷6) |
|  |  |  | БДС 17.1.4.10 (cl. 2)* (3,4,6) |
|  |  |  | БДС 3587 (cl. 2)* (1) |
|  |  | 1.28. Nitrogen – ammonium (N-NH4+) | ETC 7.1.3-18/2010 (1÷6) |
|  |  |  | БДС 17.1.4.10 (cl. 2)* (3,4,6) |
|  |  |  | БДС 3587 (cl. 2)* (1) |
|  |  | 1.29. Nitrites | ETC 7.1.3-16/2021 (cl. 8.2.1) (1÷6) |
|  |  |  | ETC 7.1.3-16/2021 (cl. 8.2.2) (3) |
|  |  |  | БДС EN ІSO 10304-1 (ІSO 10304-1)* (1÷6) |
|  |  | 1.30. Nitrite nitrogen (N-NO2-) | БДС EN ІSO 10304-1 (ІSO 10304-1)* (1÷6) |
|  |  |  | ETC 7.1.3-16/2021 (cl. 8.2.1) (1÷6) |
|  |  |  | ETC 7.1.3-16/2021 (cl. 8.2.2) (3) |
|  |  | 1.31. Nitrates | БДС EN ІSO 10304-1 (ІSO 10304-1)* (1÷6) |
|  |  | 1.32. Nitrаte nitrogen (N-NO3-) | БДС EN ІSO 10304-1 (ІSO 10304-1)* (1÷6) |
|  |  | 1.33. Residual free chlorine | БДС EN ІSO 7393-2 (ІSO 7393-2)* (1,4,5) |
|  |  |  | ETC 7.1.3-20/2010 (5) |
|  |  | 1.34. Total chlorine | БДС EN ІSO 7393-1 (ІSO 7393-1)*(6) |
|  |  |  | ETC 7.1.3-20/2010 (6) |
|  |  | 1.35. Chlorides | БДС EN ІSO 10304-1 (ІSO 10304-1)* (1÷6) |
|  |  | 1.36. Sulphates | БДС EN ІSO 10304-1 (ІSO 10304-1)* (1÷6) |
|  |  | 1.37. Hydrogen sulphide | БДС 17.1.4.09* (2÷4, 6) |
|  |  | 1.38. Sulphides (S2-) | ETC 7.1.3-22/2010 (1÷4,6) |
|  |  | 1.39. Sulphides (expressed as S) | ETC 7.1.3-22/2010 (6) |
|  |  | 1.40. Phosphorus/P | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.41. Phosphates/ Orthophosphates | ETC 7.1.3-21/2021 (cl. 8.2.1) (1÷6) |
|  |  |  | ETC 7.1.3-21/2021 (cl. 8.2.2) (3) |
|  |  |  | БДС EN ІSO 10304-1 (ІSO 10304-1)* (1÷6) |
|  |  | - expressed as phosphorus (PO43-P) | ETC 7.1.3-21/2021 (cl. 8.2.1)(1÷6) |
|  |  |  | ETC 7.1.3-21/2021 (cl. 8.2.2) (3) |
|  |  |  | БДС EN ІSO 10304-1 (ІSO 10304-1)* (1÷6) |
|  |  | - expressed as P2O5 (P2O5-P) | ETC 7.1.3-21/2021 (cl. 8.2.1)(1÷6) |
|  |  |  | БДС EN ІSO 10304-1 (ІSO 10304-1)* (1÷6) |
|  |  | 1.42. Fluorides | БДС EN ІSO 10304-1 (ІSO 10304-1)* (1÷6) |
|  |  | 1.43. Iodides | БДС EN ISO 10304-3 (ІSO 10304-3)* (1÷4,6) |
|  |  | 1.44. Bromides | БДС EN ІSO 10304-1 (ІSO 10304-1)* (1÷4,6) |
|  |  | 1.45. Bromates | ETC 7.1.3-49/2021 (cl. 8.2.1) (1÷4) |
|  |  |  | ETC 7.1.3-49/2021 (cl. 8.2.2) (2) |
|  |  |  | БДС EN ISO 15061 (ISO 15061)* (1÷4) |
|  |  | 1.46. Boron/B | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.47. Metaboric acid | ETC 7.1.3-5/2014 (1÷4,6) |
|  |  | 1.48. Total organic carbon (ТОС) | ETC 7.1.3-27/2010 (1÷6) |
|  |  |  | БДС EN 1484 (EN 1484)* (1÷6) |
|  |  | 1.49. Dissolved organic carbon (DOC) | ETC 7.1.3-27/2010 (3,4,6) |
|  |  |  | БДС EN 1484 (EN 1484)* (3,4,6) |
|  |  | 1.50. Free carbon dioxide | ETC 7.1.3-10/2014 (1÷4,6) |
|  |  | 1.52. Silicon/Si | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.53. Metasilicic acid | ETC 7.1.3-1/2021 (1÷4,6) |
|  |  | 1.54. Silicon dioxide (SiO2) | ETC 7.1.3-1/2021 (1,3,4,6) |
|  |  | 1.55. Cyanides (free) | ETC 7.1.3-41/2021 (cl. 8.2.1) (3,4,6) |
|  |  |  | ETC 7.1.3-41/2021 (cl. 8.2.2) (3) |
|  |  | 1.56. Cyanides (easily liberatable) | ІSO 6703-2 (Section 2)* (3,4,6) |
|  |  | 1.57. Cyanides (total) | БДС ІSO 6703-1 (Section 2) (ІSO 6703-1 (Section 2)* (1÷4,6) |
|  |  | 1.58. Anionic surfactants | ETC 7.1.3-45/2021 (3,6) |
|  |  | 1.59. Absorbable organic halogens (AOX) | ETC 7.1.3-26/2010 (3,4,6) |
|  |  | 1.60. Aluminium /Al | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.61. Antimony/Sb | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.62. Arsenic/As | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.63. Barium/Ba | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.64. Beryllium/Be | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.65. Bismuth/Bi | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.66. Vanadium/V | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.67. Tungsten/W | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.68. Gallium/Ga | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.69. Iron/Fe | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.70. Mercury/Hg | ETC 7.1-40/2016 (1÷6) |
|  |  |  | БДС EN ISO 17852 (ISO 17852)* (1,3,4) |
|  |  | 1.71. Indium/In | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.72. Cadmium/Cd | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.73. Tin/Sn | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.74. Potassium/K | БДС ІSO 9964-3 (ІSO 9964-3)* (1÷4) |
|  |  |  | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.75. Cobalt/Co | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.76. Lithium/Li | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.77. Manganese/Mn | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.78. Copper/Cu | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.79. Molybdenum/Mo | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.80. Sodium/Na | БДС ІSO 9964-3 (ІSO 9964-3)* (1÷4) |
|  |  |  | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.81. Nickel/Ni | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.82. Lead/Pb | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.83. Selenium/Se | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.84. Silver/Ag | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.85. Strontium/Sr | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.86. Sulfur/S | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.87. Titanium/Ti | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.88. Chromium/Cr | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.89. Chromium (hexavalent) | БДС 17.1.4.17* (2÷4,6) |
|  |  |  | ІSO 11083 (cl. 7.1)* (1÷4,6) |
|  |  |  | БДС EN ISO 18412 (ISO 18412)* (3) |
|  |  | 1.90. Chromium (trivalent) | БДС 17.1.4.17* (2÷4,6) |
|  |  | 1.91. Zinc/Zn | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.92. Zirconium/Zr | БДС EN ІSO 11885 (cl. 9.5.1 and cl. 9.5.3) (ІSO 11885 (cl. 9.5.1 and cl. 9.5.3)* (1÷6) |
|  |  | 1.94. Phenols | ETC 7.3-10/2021 (3,4,6) |
|  |  | 1.95. Phenol Index | БДС ІSO 6439 (Method А, Method В) (ІSO 6439 (Method A, Method B)* (1,3,6) |
|  |  |  | ETC 7.3-10/2021 (1,3,6) |
|  |  | 1.96. Petroleum products / non-polar hydrocarbons С10-С40/ | БДС EN ІSO 9377-2 (ІSO 9377-2)* (3÷4,6) |
|  |  | 1.97. Total extractable hydrocarbons С10-С40 | ETC 7.3-23/2016 (3÷4,6) |
|  |  | 1.98. Volatile organic compounds (VOC) | ETC 7.3-1/2020* (1÷4,6) БДС EN ISO 10301 (Section 3) (ISO 10301) (Section 3)*, ** (1÷4,6) ISO 20595*, ** (1÷4,6) БДС EN 14207 (EN 14207)*(1) |
|  |  | 1.99. Polycyclic aromatic hydrocarbons (PAH) | ISO 28540* (1÷4,6) |
|  |  | 1.100. Pesticides: 1.100.1. Polychlorinated biphenyls 1.100.2. Organochlorine pesticides 1.100.3. Chlorobenzenes 1.100.4. Organophosphorus and organonitrogen pesticides 1.100.5. Pyrethroids 1.100.6. Nonylphenols, Octylphenols 1.100.7. Carbamates 1.100.8. Perfluorooctane sulfonic acid and its derivatives (PFOS) | ETC 7.3-28/2021** (1÷4,6) |
|  |  |  | ETC 7.3-28/2021** (1÷4,6) EPA 8151A* (1÷4,6) |
|  |  |  | ETC 7.3-28/2021** (1÷4,6) |
|  |  |  | ETC 7.3-28/2021** (1÷4,6) |
|  |  |  | ASTM D7485*, ** (1÷4) |
|  |  |  | ETC 7.3-28/2021** (1÷4) |
|  |  |  | ASTM D7979*, ** (1÷4) |
|  |  | 1.101. Fats (vegetable oils and animal fats) | ETC 7.3-31/2012 (3,4,6) |
|  |  | 1.102. Natural uranium | ETC 7.1.3-30/2021 (1÷4,6) |
|  |  |  | ETC 7.1-53/2018 (cl. 8.2.1) (1÷4) |
|  |  |  | ETC 7.1-53/2018 (cl. 8.2.2) (1÷4) |
|  |  | 1.103. Radium 226 | БДС 12575* (2÷4) |
|  |  | 1.104. Total beta activity | БДС 12577* (1÷4) |
|  |  | 1.105. Total number of microorganisms at 22 ºС, at 37 ºС | БДС EN ІSO 6222 (ІSO 6222)* (1÷4) |
|  |  | 1.106. Total coliforms | БДС EN ІSO 9308-1+A1 (ІSO 9308-1+Amd)* (1,2,4) |
|  |  | 1.107. Escherichia coli | БДС EN ІSO 9308-1+A1 (ІSO 9308-1+Amd)* (1,2,4) |
|  |  | 1.108. Enterococci | БДС EN ІSO 7899-2 (ISO 7899-2)* (1÷4) |
|  |  | 1.109. Clostridium perfringens | БДС EN 26461-2 (EN 26461-2)* (1,2,3,4) |
|  |  | 1.110. Pseudomonas aeruginosa | БДС EN ІSO 16266 (ІSO 16266)* (1,2,4) |
| 2. | Soils (1), sludge and sediments (2) | 2.1. рН | БДС EN ІSO 10390 (ІSO 10390)* (1,2) |
|  |  | 2.2. Electrical conductivity | СД CEN/TS 15937 (CEN/TS 15937)* (1,2) |
|  |  | 2.3. Total water-soluble salts content | БДС 11301* (1) |
|  |  | 2.4. Dry matter | БДС EN 15934 (Method А) (EN 15934 (Method А)* (1,2) ІSO 11465+Cor.1* (1) БДС EN 12880 (EN 12880)* (2) |
|  |  | 2.5. Moisture | ІSO 11465+Cor.1* (1) БДС EN 12880 (EN 12880)* (2) |
|  |  | 2.6. Organic matter/ Total amount of humus – by a method of Turin | БДС 11302* (1) ETC 7.1.3-11/2010 (1,2) |
|  |  | 2.7. Total Nitrogen / Kjeldahl Nitrogen | БДС ІSO 11261 (ІSO 11261)* (1) |
|  |  |  | БДС EN 13342 (EN 13342)* (2) |
|  |  |  | БДС EN 16169 (EN 16169)* (1,2) |
|  |  |  | БДС ISO 13878 (ISO 13878)*(1) |
|  |  | 2.8. Aluminium /Al | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.9. Antimony/Sb | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.10. Arsenic/As | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.11. Barium/Ba | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.12. Beryllium/Be | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.13. Bismuth/Bi | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.14. Boron/B | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.15. Vanadium/V | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.16. Tungsten/W | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.17. Total carbon (TC) | ETC 7.3-2/2016 (1,2) БДС EN 15936 (Method В) (EN 15936 (Method B)* (1,2) ISO 10694* (1) |
|  |  | 2.18. Total organic carbon (ТОС) | ETC 7.3-2/2016 (1,2) БДС EN 15936 (Method В) (EN 15936 (Method B)* (1,2) ISO 10694* (1) |
|  |  | 2.19. Total inorganic carbon (TIC) | ETC 7.3-2/2016 (1,2) |
|  |  | 2.20. Gallium /Ga | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.21. Iron/Fe | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.22. Mercury/Hg | ETC 7.1-16/2014 (2) БДС EN 16175-2 (EN 16175-2)* (1,2) |
|  |  |  | ETC 7.1-33/2010 (1) |
|  |  | 2.23. Gold/Au | ETC 7.1-4/2017 (cl. 8.2.2) (1,2) |
|  |  |  | ETC 7.1-4/2017 (cl. 8.2.1) (1,2) |
|  |  |  | ETC 7.1-42/2016 (cl. 8.2.4.1) (1) |
|  |  |  | ETC 7.1-42/2016 (cl. 8.2.5) (1) |
|  |  | 2.24. Yttrium/Y | ETC 7.1-29/2019 (1,2) |
|  |  | 2.25. Cadmium/Cd | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.26. Tin/Sn | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.27. Potassium/K - exchangeable forms of Potassium/K (expressed as K2O) | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1.3-13/2010 (1) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  |  | БДС EN ISO 11260 (ISO 11260)* (1,2) |
|  |  | 2.28. Calcium/Ca - exchangeable forms of Calcium /Ca | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  |  | БДС EN ISO 11260 (ISO 11260)* (1,2) |
|  |  | 2.29. Cobalt/Co | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.30. Lanthanum/La | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.31. Lithium/Li | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.32. Magnesium/Mg - exchangeable forms of Magnesium /Mg | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  |  | БДС EN ISO 11260 (ISO 11260)* (1,2) |
|  |  | 2.33. Manganese/Mn | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.34. Copper/Cu | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  |  | ETC 7.1-10/2017 (1,2) |
|  |  | 2.35. Molybdenum/Mo | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.36. Sodium/Na | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.37. Nickel/Ni | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.38. Lead/Pb | БДС EN 16170 (EN 16170)*(1,2) |
|  |  |  | ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.39. Selenium/Se | БДС EN 16170 (EN 16170)*(1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.40. Silicon/Si | ETC 7.1-18/2017 (2) |
|  |  | 2.41. Silver/Ag | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.42. Strontium/Sr | БДС EN 16170 (EN 16170)*(1,2) |
|  |  |  | ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.43. Sulphur (total) | БДС ІSO 15178 (ІSO 15178)*(1) |
|  |  |  | ETC 7.3-7/2018 (2) |
|  |  | 2.44. Thallium/Tl | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.45. Tellurium/Te | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.46. Titanium/Ti | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.47. Phosphorus/P - exchangeable forms of Phosphorus/P (expressed as P2O5) | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1.3-13/2010 (1) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  |  | ETC 7.1-28/2017 (1,2) |
|  |  | 2.48. Chromium/Cr | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1,2) |
|  |  | 2.49. Zinc/Zn | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  |  | ETC 7.1-28/2017 (1) |
|  |  | 2.50. Zirconium/Zr | БДС EN 16170 (EN 16170)*(1,2) ETC 7.1-29/2019 (1,2) |
|  |  | 2.51. Carbonates | ETC 7.1.3-6/2014 (1,2) |
|  |  | 2.52. Hydrogencarbonates | ETC 7.1.3-6/2014 (1,2) |
|  |  | 2.53. Chlorides | ETC 7.1.3-35/2010 (1,2) |
|  |  | 2.54. Ammonium | ETC 7.1.3-18/2010 (1,2) |
|  |  | 2.55. Ammonium nitrogen (N-NH4+) | ETC 7.1.3-18/2010 (1) |
|  |  |  | ISO/TS 14256-1* (1,2) |
|  |  | 2.56. Nitrites | ETC 7.1.3-35/2010 (1,2) |
|  |  | 2.57. Nitrite nitrogen (N-NO2-) | ETC 7.1.3-35/2010 (1) |
|  |  | 2.58. Nitrates | ETC 7.1.3-35/2010 (1,2) |
|  |  | 2.59. Nitrate nitrogen (N-NO3-) | ETC 7.1.3-35/2010 (1) |
|  |  |  | ISO/TS 14256-1* (1,2) |
|  |  | 2.60. Phosphates | ETC 7.1.3-21/2021 (cl. 8.2.1) (1,2) |
|  |  |  | ETC 7.1.3-35/2010 (1,2) |
|  |  | 2.61. Acid soluble sulphates | БДС ІSO 11048 (ІSO 11048)*(1) |
|  |  | 2.62. Water soluble sulphates / | БДС ІSO 11048 (ІSO 11048)*(1) |
|  |  | Sulphates/ | ETC 7.1.3-35/2010 (1) |
|  |  | - recalculated as S | ETC 7.1.3-35/2010 (2) |
|  |  | 2.63. Cyanides (total) | ІSO 11262* (1) |
|  |  | 2.64. Petroleum products / non-polar hydrocarbons С10-С40/ | БДС EN ІSO 16703 (ІSO 16703)* (1,2) ETC 7.3-26/2010 (2) |
|  |  | 2.65. Volatile organic compounds (VOC) | БДС EN ISO 22155 (ISO 22155)*, ** (1,2) |
|  |  | 2.66. Polycyclic aromatic hydrocarbons (РАН) | ІSO 18287 (Method В)* (1,2) БДС EN 17503 (EN 17503)* (1,2) |
|  |  | 2.67. Pesticides: 2.67.1. Polychlorinated biphenyls 2.67.2. Organochlorine pesticides 2.67.3. Chlorobenzenes | БДС EN 17322 (EN 17322)*, ** (1,2) ETC 7.3-6/2020** (1,2) |
|  |  |  | ETC 7.3-6/2020** (1,2) |
|  |  | 2.68. Fats (vegetable oils and animal fats) | ETC 7.3-31/2012 (1) |
|  |  | 2.69. Calorific value | БДС EN 15170 (EN 15170)* (2) |
| 3 | Construction soils /soil mechanics/ | 3.1. Water content | БДС 644*** БДС EN ІSO 17892-1 (ІSO 17892-1)* AASHTO T 265* |
|  |  | 3.2. Specific particle density | БДС 646*** БДС EN ІSO 17892-3 (ISO 17892-3)* |
|  |  | 3.3. Bulk density: 3.3.1. in natural condition 3.3.2. skeleton 3.3.3. Pore volume 3.3.4. Voids ratio 3.3.5. Sand cone method | БДС EN ІSO 17892-2 (ISO 17892-2)* |
|  |  |  | AASHTO T 191* |
|  |  | 3.4. Liquid and drain limits - liquid limit, Wl - Drain limit, Wp - plastic index, Іp - consistency index, Іc | БДС 648*** |
|  |  |  | БДС 2761 (cl. 3.2.4, cl. 3.2.5)*** |
|  |  | 3.5. Liquid and plastic limits: - liquid limit by the fall cone method, Wl - plastic limit, Wp - plastic index, Іp - liquidity index, Іl - consistency index, Іc | БДС EN ІSO 17892-12 (ІSO 17892-12)* |
|  |  | 3.6 Consistency index by Atterberg’s method - liquid limit, Wl - plastic limit, W - plastic index, Іp | AASHTO T 89* AASHTO T 90* |
|  |  | 3.7. Water saturation degree Sr | БДС 2761 (cl. 3.1.4)*** БДС EN ISO 17892-10 (cl. 7.5) (ISO 17892-10 (cl. 7.5)* |
|  |  | 3.8. Particle size distribution | БДС EN ISO 17892-4 (ISO 17892-4)* AASHTO T 88* |
|  |  | 3.9. Coefficient of uniformity | БДС 2761 (cl. 1.3)*** |
|  |  | 3.10. Compression properties: - specific subsidence/ vertical deformation - compression module - modulus of elasticity - compacting factor - void ratio - relative swelling, Sн - swelling stress, σн | БДС 8992*** БДС EN ISO 17892-5 (ISO 17892-5)* |
|  |  | 3.11. Plate load test - modulus of deformation - modulus of elasticity | БДС 15130* |
|  |  | 3.12. Laboratory determination of settlement /macro-pore volume/ | БДС 14783* |
|  |  | 3.13. Direct shear test in a single-platform apparatus: - angle of internal friction - cohesion - angle of internal friction (residual) -cohesion (residual) | БДС 10188* БДС EN ISO 17892-10 (ISO 17892-10)* |
|  |  | 3.14. Proctor test: - optimal water content - maximum bulk density | БДС 17146* |
|  |  |  | БДС EN 13286-2 (EN 13286-2)* |
|  |  |  | БДС 17146* |
|  |  |  | БДС EN 13286-2 (EN 13286-2)* |
|  |  | 3.15. Unconfined compression - unconfined compressive strength qu - undrained shear strength cu - axial deformation at failure ε | БДС EN ІSO 17892-7 (ІSO 17892-7)* |
|  |  | 3.16. Unconsolidated undrained triaxial test (UU test): - deviator stress (σ1-σ3) | БДС EN ISO 17892-8 (ISO 17892-8)* |
|  |  | - undrained cohesion сu’ |  |
|  |  | - axial deformation at failure ε |  |
|  |  | - cohesion сu |  |
|  |  | - angle of internal friction φu |  |
|  |  | 3.17. Consolidated undrained triaxial test (CU test): - deviator stress (σ1-σ3) - pore pressure u - axial deformation at failure ε1 - cohesion с’ - angle of internal friction φ’ | БДС EN ISO 17892-9 (ISO 17892-9)* |
|  |  | 3.18. Consolidated drained triaxial test (CD test): - deviator stress (σ1-σ3) - axial deformation at failure ε1 - volume deformation at failure εvol - cohesion с’ - angle of internal friction φ’ | БДС EN ISO 17892-9 (ISO 17892-9)* |
|  |  | 3.19. Water permeability coefficient | БДС 8497* |
|  |  | 3.20. Californian bearing ratio (CBR) - penetration 2.5 mm - penetration 5.0 mm | БДС EN 13286-47 (EN 13286-47)* |
|  |  | 3.21. Total water content of soluble salts | БДС 11301* |
|  |  | 3.22. Organic substances | БДС 11302* |
|  |  | 3.23. Aggressiveness Determination in aqueous extract of: 3.23.1. рН | БДС EN ІSO 10390 (ІSO 10390)* |
|  |  | 3.23.2. Magnesium salts | ETC 7.1.3-31/2010 |
|  |  | 3.23.3. Sulphates | ETC 7.1.3-35/2010 |
|  |  | 3.23.4. Chlorides | ETC 7.1.3-35/2010 |
| 4. | Aggregates (1), rocks and minerals (2) | 4.1. Water content (moisture, natural humidity) | БДС EN 1097-5 (EN 1097-5)* (1) |
|  |  |  | ETC 7.1-18/2017 (1,2) ETC 7.1-3/2022 (1,2) БДС 12159* (2) |
|  |  | 4.2. Loss on ignition | БДС EN 1744-1+A1 (cl. 17) (EN 1744-1+A1 (cl. 17)* (1) ETC 7.1-18/2017 (1,2) ETC 7.1-3/2022 (1,2) |
|  |  | 4.3. Particle size distribution | БДС EN 933-1 (EN 933-1)* (1) БДС ISO 2591-1 (ISO 2591-1)* (1,2) |
|  |  | 4.4. Fine fraction content | БДС EN 933-1 (EN 933-1)* (1) |
|  |  | 4.5. Sand size module/fineness of the sand | БДС EN 12620+A1 Annex В (EN 12620+A1 Annex В)* (1) |
|  |  | 4.6. Flat grains index (Flakiness) | БДС EN 933-3 (EN 933-3)* (1) |
|  |  | 4.7. Shape factor | БДС EN 933-4 (EN 933-4)* (1) |
|  |  | 4.8. Crushed and broken surface in coarse aggregate particles | БДС EN 933-5 (EN 933-5)* (1) |
|  |  | 4.9. Shell content in coarse aggregates | БДС EN 933-7 (EN 933-7)* (1) |
|  |  | 4.10. Sand equivalent | БДС EN 933-8+А1 (EN 933-8 + А1)* (1) |
|  |  | 4.11. Methylene blue | БДС EN 933-9 (EN 933-9)* (1) |
|  |  | 4.12. Grain length | БДС EN 13450+AC (cl. 6.7) (EN 13450+AC (cl. 6.7)* (1) |
|  |  | 4.13. Resistance to freezing /weight loss/ | БДС EN 1367-1 (EN 1367-1)* (1) БДС EN 13055 (EN 13055)* (1) БДС EN 12371 (EN 12371)* (2) |
|  |  | 4.14. Resistance in a magnesium sulphate solution | БДС EN 1367-2 (EN 1367-2)* (1) |
|  |  | 4.15. Loose bulk density | БДС EN 1097-3 (EN 1097-3)* (1) |
|  |  | 4.16. Voids percentage | БДС EN 1097-3 (EN 1097-3)* (1) |
|  |  | 4.17. Specific (bulk) density of fine filler in kerosene | БДС EN 1097-3 Annex А (cl. А1 to cl. А6) (EN 1097-3 Annex А (cl. А1 to cl. А6)* (1) |
|  |  | 4.18. Particles bulk density of fine filler. Pycnometer method | БДС EN 1097-7 (EN 1097-7)* (1) |
|  |  | 4.19. Particle density: - specific (а, - at dry condition (rd, - saturated and surface dry grain s(ssd | БДС EN 1097-6 (EN 1097-6)* (1) |
|  |  | 4.20. Bulk density | БДС EN ISO 17892-2 (ISO 17892-2)* (2) |
|  |  | 4.21. Specific density | БДС 646*** (2) БДС EN ISO 17892-3 (ISO 17892-3)* (2) |
|  |  | 4.22. Pore volume | БДС EN ISO 17892-2 (ISO 17892-2)* (2) |
|  |  | 4.23. Voids radio | БДС EN ISO 17892-2 (ISO 17892-2)* (2) |
|  |  | 4.24. Water absorbing capacity till constant mass | БДС 12159* (2) |
|  |  | 4.25. Water absorption | БДС EN 1097-6 (EN 1097-6)* (1) |
|  |  | 4.26. Water absorption in atmospheric pressure | БДС EN 13755 (EN 13755)* (2) |
|  |  | 4.27. Resistance to wear (micro-Deval) | БДС EN 1097-1 (Annex А) (EN 1097-1) (Annex A)* (1) |
|  |  | 4.28. Resistance to fragmentation | БДС EN 1097-2 (cl. 5, Annex А) (EN 1097-2) (cl. 5, Annex A)* (1) |
|  |  | 4.29. Uniaxial compressive strength: 4.29.1. in dry condition 4.29.2. in water saturated condition 4.29.3. after freeze / thaw cycles | БДС EN 1926 (EN 1926)* (2) ASTM D7012 (Method C)* (2) |
|  |  | 4.30 Triaxial compressive strength: - cohesion с | ASTM D7012 (Method A)* (2) |
|  |  | - angle of internal friction φ |  |
|  |  | 4.31. Static elastic module | БДС EN 14580 (EN 14580)* (2) |
|  |  | 4.32. Elastic modulus at uniaxial compression Е | ASTM D7012 (Method D)* (2) |
|  |  | 4.33. Elastic module at triaxial compression Е | ASTM D7012 (Method B)* (2) |
|  |  | 4.34. Poisson's ratio ν | ASTM D7012 (Method D)* (2) |
|  |  | 4.35. Monoplane shear with pressure in inclined matrices - angle of internal friction φ - cohesion с | ETC 7.2.1-30/2010 (2) |
|  |  | 4.36. Direct Shear strength at constant normal load: - angel of internal friction φ - cohesion с | ASTM D5607* (2) |
|  |  | 4.37. Splitting tensile strength diametral line compression method /Brazilian method/ - in dry condition - in water saturated condition | ASTM D3967* (2) |
|  |  | 4.38. Point load strength index of rock | ASTM D 5731* (2) |
|  |  | 4.39. California bearing ratio (CBR) - penetration 2.5 mm - penetration 5.0 mm | БДС EN 13286-47 (EN 13286-47)* (1,2) |
|  |  | 4.40. Proctor compaction test: - optimal water content - maximum skeletal density | БДС EN 13286-2 (EN 13286-2)* (1,2) |
|  |  | 4.41. Aluminium/Al - expressed as Al2O3 | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  |  | ETC 7.1-18/2017 (1,2) |
|  |  | 4.42. Antimony/Sb | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.43. Arsenic/As | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.44. Barium/Ba | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.45. Beryllium/Be | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.46. Bismuth/Bi | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.47. Boron/B | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.48. Vanadium/V | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.49. Tungsten/W | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.50. Total carbon (TC) | ETC 7.3-2/2016 (2) |
|  |  | 4.51. Total organic carbon (ТОС) | ETC 7.3-2/2016 (2) |
|  |  | 4.52. Total inorganic carbon (TIC) | ETC 7.3-2/2016 (2) |
|  |  | 4.53. Gallium/Ga | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.54. Iron/Fe - expressed as Fe2O3 | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  |  | ETC 7.1-18/2017 (1,2) |
|  |  | 4.55. Mercury/Hg | ETC 7.1-16/2014 (1,2) |
|  |  | 4.56. Gold/Au | ETC 7.1-4/2017 (cl. 8.2.2) (2) |
|  |  |  | ETC 7.1-4/2017 (cl. 8.2.1) (2) |
|  |  |  | ETC 7.1-42/2016 (cl. 8.2.4.1) (2) |
|  |  |  | ETC 7.1-42/2016 (cl. 8.2.4.2) (2) |
|  |  |  | ETC 7.1-42/2016 (cl. 8.2.5) (2) |
|  |  | 4.57. Yttrium/Y | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.58. Cadmium/Cd | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.59. Tin/Sn | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.60. Potassium/K - expressed as K2O | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  |  | ETC 7.1-18/2017 (1,2) |
|  |  | 4.61. Calcium/Ca - expressed as CaO | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  |  | ETC 7.1-18/2017 (1,2) |
|  |  | 4.62. Cobalt/Co | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.63. Lanthanum/La | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.64. Lithium/Li | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.65. Magnesium/Mg - expressed as MgO | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  |  | ETC 7.1-18/2017 (1,2) |
|  |  | 4.66. Manganese/Mn - expressed as MnO | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  |  | ETC 7.1-18/2017 (1,2) |
|  |  | 4.67. Copper/Cu | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  |  | ETC 7.1-10/2017 (2) |
|  |  | 4.68. Molybdenum/Mo | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.69. Sodium/Na - expressed as Na2O | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  |  | ETC 7.1-18/2017 (1,2) |
|  |  | 4.70. Nickel/Ni | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.71. Lead/Pb | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.72. Palladium/Pd | ETC 7.1-42/2016 (cl. 8.2.5) (2) |
|  |  | 4.73. Platinum/Pt | ETC 7.1-42/2016 (cl. 8.2.5) (2) |
|  |  | 4.74. Silicon/Si - expressed as SiO2 | ETC 7.1-18/2017 (1,2) |
|  |  | 4.75. Silver/Ag | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  |  | ETC 7.1-13/2016 (2) |
|  |  | 4.76. Strontium/Sr | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.77. Sulphur/S (total) | ETC 7.3-7/2018 (2) |
|  |  |  | БДС EN 1744-1+A1 (cl. 11) (EN 1744-1+A1 (cl. 11)* (1,2) |
|  |  | 4.78. Sulphur/S (sulphide) | ETC 7.1-25/2017 (1,2) |
|  |  | 4.79. Sulphur/S (sulphate) | ETC 7.1-25/2017 (1,2) |
|  |  | 4.80. Thallium/Tl | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.81. Tellurium/Te | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.82. Titanium/Ti - expressed as TiO2 | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  |  | ETC 7.1-18/2017 (1,2) |
|  |  | 4.83. Phosphorus/P - expressed as P2O5 | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  |  | ETC 7.1-18/2017 (1,2) |
|  |  | 4.84. Chromium/Cr | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.85. Zinc/Zn | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.86. Zirconium/Zr | ETC 7.1-29/2019 (1,2) EPA 6010D* (1,2) |
|  |  | 4.87. Silicon dioxide/SiO2 4.88. Dialuminum trioxide/Al2O3 4.89. Magnesium oxide/MgO 4.90. Disodium oxide/Na2O 4.91. Titanium Dioxide/TiO2 4.92. Diiron trioxide/Fe2O3 4.93. Dipotassium oxide/K2O 4.94. Calcium oxide/CaO 4.95. Manganese oxide/MnO 4.96. Diphosphorus pentoxide/P2O5 | ETC 7.1-3/2022 (1,2) |
|  |  | 4.97. Alkaline reactive ability | БДС 14851 (cl. 8)* (1) |
|  |  | 4.98. Substances content insoluble in hydrochloric acid | БДС 5668* (2) |
|  |  | 4.99. Water-soluble chlorides | БДС EN 1744-1+A1 (cl. 9) (EN 1744-1+A1 (cl. 9)* (1) |
|  |  | 4.100. Water-soluble sulphates - expressed as SO3 / expressed as SO4 - expressed as SO4 | БДС EN 1744-1+A1 (cl. 10.1) (EN 1744-1+A1 (cl. 10.1)* (1) |
|  |  |  | БДС EN 1744-1+A1 (cl. 10.2) (EN 1744-1+A1 (cl. 10.2)* (1) |
|  |  | 4.101. Acid soluble sulphates - expressed as SO3 / expressed as SO4 | БДС EN 1744-1+A1 (cl. 12) (EN 1744-1+A1 (cl. 12)* (1) |
|  |  | 4.102. Low weight contamination | БДС EN 1744-1+A1 (cl. 14.2) (EN 1744-1+A1 (cl. 14.2)* (1) |
|  |  | 4.103. Organic components /humus/ | БДС EN 1744-1+A1 (cl. 15.1) (EN 1744-1+A1 (cl. 15.1)* (1) |
|  |  | 4.104. Water solubility | БДС EN 1744-1+A1 (cl. 16) (EN 1744-1+A1 (cl. 16)* (1) |
| 5. | Ores and products from processing thereof | 5.1. Moisture | БДС ІSO 10251 (ІSO 10251)* БДС 14831* |
|  |  |  | БДС ІSO 9599 (ІSO 9599)* |
|  |  |  | ETC 7.1-3/2022 ETC 7.1-18/2017 |
|  |  | 5.2. Loss on ignition | ETC 7.1-3/2022 ETC 7.1-18/2017 |
|  |  | 5.3. Particle size distribution composition | БДС 15443* БДС ISO 2591-1 (ISO 2591-1)* |
|  |  | 5.4. Chemical elements from Na to U | БДС 17389* ISO 22309* |
|  |  | 5.5. Silicon dioxide/SiO2 5.6. Dialuminum trioxide/Al2O3 5.7. Magnesium oxide/MgO 5.8. Disodium oxide/Na2O 5.9. Titanium Dioxide/TiO2 5.10. Diiron trioxide/Fe2O3 5.11. Dipotassium oxide/K2O 5.12. Calcium oxide/CaO 5.13. Manganese oxide/MnO 5.14. Diphosphorus pentoxide/P2O5 | ETC 7.1-3/2022 |
|  |  | 5.15. Aluminium/Al - expressed as Al2O3 | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.16. Antimony/Sb | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.17. Arsenic/As | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.18. Barium/Ba | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.19. Beryllium/Be | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.20. Bismuth/Bi | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.21. Boron/B | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.22. Vanadium/V | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.23. Tungsten/W | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.24. Carbon | ETC 7.3-22/2010 |
|  |  | 5.25. Gallium/Ga | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.26. Iron/Fe - expressed as Fe2O3 | ETC 7.1-3/2022 |
|  |  |  | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.27. Mercury/Hg | ETC 7.1-16/2014 |
|  |  | 5.28. Gold/Au | ETC 7.1-4/2017 (cl. 8.2.2) |
|  |  |  | ETC 7.1-4/2017 (cl. 8.2.1) |
|  |  |  | БДС ІSO 10378 (ІSO 10378)* |
|  |  |  | AS 3895.1* |
|  |  |  | ETC 7.1-42/2016 (cl. 8.2.5) |
|  |  |  | ETC 7.1-42/2016 (cl. 8.2.4.1) |
|  |  |  | ETC 7.1-42/2016 (cl. 8.2.4.2) |
|  |  | 5.29. Yttrium/Y | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.30. Cadmium/Cd | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.31. Tin/Sn | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.32. Potassium/K - expressed as K2O | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.33. Calcium/Ca - expressed as CaO | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.34. Cobalt/Co | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.35. Lanthanum/La | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.36. Lithium/Li | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.37. Magnesium/Mg - expressed as MgO | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.38. Manganese/Mn - expressed as MnO | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.39. Copper/Cu | EPA 6010D* ETC 7.1-29/2019 |
|  |  |  | ETC 7.1-10/2017 |
|  |  |  | ETC 7.1-3/2022 |
|  |  |  | ETC 7.1-41/2016 |
|  |  |  | БДС ISO 10258 (ISO 10258)* |
|  |  | 5.40. Molybdenum/Mo | EPA 6010D* ETC 7.1-29/2019 |
|  |  |  | ETC 7.1-3/2022 |
|  |  | 5.41. Sodium/Na - expressed as Na2O | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.42. Nickel/Ni | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.43. Lead/Pb | EPA 6010D* ETC 7.1-29/2019 |
|  |  |  | БДС ISO 13545 (ISO 13545)* |
|  |  | 5.44. Palladium/Pd | ETC 7.1-42/2016 (cl. 8.2.5) |
|  |  | 5.45. Platinum/Pt | ETC 7.1-42/2016 (cl. 8.2.5) |
|  |  | 5.46. Silicon/Si - expressed as SiO2 | ETC 7.1-18/2017 |
|  |  | 5.47. Silver/Ag | EPA 6010D* ETC 7.1-29/2019 |
|  |  |  | ETC 7.1-13/2016 |
|  |  |  | БДС ІSO 10378 (ІSO 10378)* |
|  |  | 5.48. Strontium/Sr | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.49. Sulphur/S | ETC 7.3-15/2010 |
|  |  |  | ETC 7.1-3/2022 |
|  |  | 5.50. Thallium/Tl | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.51. Tellurium/Te | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.52. Titanium/Ti - expressed as TiO2 | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.53. Phosphorus/P - expressed as P2O5 | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.54. Chromium/Cr | EPA 6010D* ETC 7.1-29/2019 |
|  |  | 5.55. Zinc/Zn | EPA 6010D* ETC 7.1-29/2019 |
|  |  |  | БДС 6443* |
|  |  | 5.56. Zirconium/Zr | EPA 6010D* ETC 7.1-29/2019 |
| 6. | Cement | 6.1. Chromium (hexavalent) | БДС EN 196-10 (cl. 8.2) (EN 196-10 (cl. 8.2)* |
|  |  | 6.2. Flexural strength | БДС EN 196-1 (cl. 9.1) (EN 196-1 (cl. 9.1)* |
|  |  | 6.3. Compressive strength | БДС EN 196-1 (cl. 9.2) (EN 196-1 (cl. 9.2)* |
|  |  | 6.4. Standard consistence | БДС EN 196-3 (cl. 5) (EN 196-3 (cl. 5)* |
|  |  | 6.5. Setting times (initial and final) | БДС EN 196-3 (cl. 6) (EN 196-3 (cl. 6)* |
|  |  | 6.6. Soundness | БДС EN 196-3 (cl. 7) (EN 196-3 (cl. 7)* |
|  |  | 6.7. Fineness | БДС EN 196-6 (cl. 3) (EN 196-6 (cl. 3)* |
|  |  | 6.8. Residue, insoluble in hydrochloric acid and sodium carbonate | БДС EN 196-2 (cl. 4.4.3) (EN 196-2 (cl. 4.4.3)* |
|  |  | 6.9. Loss on ignition | БДС EN 196-2 (cl. 4.4.1) (EN 196-2 (cl. 4.4.1)* |
|  |  | 6.10. Sulphates expressed as SO3 | БДС EN 196-2 (cl. 4.4.2) (EN 196-2 (cl. 4.4.2)* |
|  |  | 6.11. Chlorides | БДС EN 196-2 (cl. 4.5.16) (EN 196-2 (cl. 4.5.16)* |
| 7. | Concretes | 7.1. Density | БДС EN 12390-7 (EN 12390-7)* БДС EN 992 (EN 992)* |
|  |  | 7.2. Resistance to freezing - relative weight loss - relative loss of compressive strength | БДС EN 206+A2/NA* |
|  |  | 7.3. Compressive strength | БДС EN 12390-3 (EN 12390-3)* |
|  |  | 7.4. Depth of penetration of water under pressure (watertightness) | БДС EN 206+А2/NA (Annex NA.N)* БДС EN 12390-8 (EN 12390-8)* |
| 8. | Petroleum products /gas oil (1), diesel (2) and heavy fuel oil (3)/ | 8.1. Density | БДС EN ІSO 3675 (ІSO 3675)* (1÷3) |
|  |  | 8.2. Flash point /Pensky-Martens closed cup method / | БДС EN ISO 2719+А1 (ISO 2719+AMD.1)* (1,2) |
|  |  | 8.3. Ash | БДС EN ІSO 6245 (ІSO 6245)* (1÷3) |
|  |  | 8.4. Water | БДС ІSO 3733 (ІSO 3733)* (1,3) |
|  |  |  | БДС EN ІSO 12937 (ІSO 12937)* (2) |
|  |  |  | АSТМ Е 203* (1,3) |
|  |  | 8.5. Total impurities | БДС EN 12662 (EN 12662)*(1,2) |
|  |  | 8.6. Corrosiveness to copper – Copper strip test | БДС EN ІSO 2160 (ІSO 2160)* (2) |
|  |  | 8.7. Kinematic viscosity | БДС EN ІSO 3104 (ІSO 3104)* (1÷3) |
|  |  | 8.8. Distillation characteristics | БДС EN ІSO 3405 (ІSO 340)* (1,2) |
|  |  | 8.9. Cetane index | БДС EN ІSO 4264 (ІSO 4264)* (2) |
|  |  | 8.10. Cold filter plugging point | БДС EN 116 (EN 116)* (2) |
|  |  | 8.11. Flash point and fire point – Cleveland open cup method | БДС EN ІSO 2592 (ІSO 2592)* (3) |
|  |  | 8.12. Mechanical impurities | БДС 17411* (1,3) |
|  |  | 8.13. Freezing point | БДС 1751* (1,3) |
|  |  | 8.14. Cloud point | БДС EN ISO 3015 (ISO 3015)* (1÷3) |
|  |  | 8.15. Pour point | БДС EN ІSO 3016 (ІSO 3016)* (1÷3) |
|  |  | 8.17. Water-soluble acids and bases | БДС 5252* (3) |
|  |  | 8.18. Sulphur/S | ETC 7.3-5/2014 (1,3) |
|  |  |  | БДС EN ISO 13032 (ISO 13032)* (2) |
|  |  | 8.19. Calorific value | БДС 17413* (1,3) |
| 9. | Biodiesel | 9.1. Esters (total) | БДС EN 14103 (EN 14103)* |
|  |  | 9.2. Methyl ester of linoleic acid |  |
|  |  | 9.3. Kinematic viscosity | БДС EN ІSO 3104 (ІSO 3104)* |
|  |  | 9.4. Flash point /Pensky-Martens closed cup method / | БДС EN ISO 2719+А1 (ISO 2719+AMD.1)* |
|  |  | 9.5. Cold filter plugging point | БДС EN 116 (EN 116)* |
|  |  | 9.6. Water | БДС EN ІSO 12937 (ІSO 12937)* |
|  |  | 9.7. Acid value | БДС EN 14104 (EN 14104)* |
|  |  | 9.8. Iodine value | БДС EN 14111 (EN 14111)* |
|  |  | 9.9. Methanol | БДС EN 14110 (EN 14110)* |
|  |  | 9.10. Monoglycerides | БДС EN 14105 (EN 14105)* |
|  |  | 9.11. Diglycerides |  |
|  |  | 9.12. Triglycerides |  |
|  |  | 9.13. Free glycerol |  |
|  |  | 9.14. Total glycerol |  |
|  |  | 9.15. Total impurities | БДС EN 12662 (EN 12662)* |
|  |  | 9.16. Density | БДС EN ІSO 3675 (ІSO 3675)* |
|  |  | 9.17. Corrosiveness to copper – Copper strip test | БДС EN ІSO 2160 (ІSO 2160)* |
| 10. | Oils | 10.1. Density | БДС EN ІSO 3675 (ІSO 3675)* |
|  |  | 10.2. Kinematic viscosity | БДС EN ІSO 3104 (ІSO 3104)* |
|  |  | 10.3 Viscosity index | БДС ІSO 2909 (ІSO 2909)* |
|  |  | 10.4. Flash point /Pensky-Martens closed cup method / | БДС EN ISO 2719+А1 (ISO 2719+AMD.1)* |
|  |  | 10.5. Flash and fire points –Cleveland open cup method | БДС EN ІSO 2592 (ІSO 2592)* |
|  |  | 10.6. Mechanical impurities | БДС 17411* |
|  |  | 10.7. Water | БДС ІSO 3733 (ІSO 3733)* |
|  |  |  | БДС EN ІSO 12937 (ІSO 12937)* |
|  |  | 10.8. Ash | БДС EN ІSO 6245 (ІSO 6245)* |
|  |  | 10.9. Acid value | БДС ІSO 6618 (ІSO 6618)* БДС 1752* |
|  |  | 10.10. Sulphur/S | ETC 7.3-5/2014 |
|  |  | 10.11. Water-soluble acids and bases | БДС 5252* |
|  |  | 10.12. Corrosiveness to copper – Copper strip test | БДС EN ІSO 2160 (ІSO 2160)* |
|  |  | 10.13. Pour point | БДС EN ІSO 3016 (ІSO 3016)* |
|  |  | 10.14. Cloud point | БДС EN ISO 3015 (ISO 3015)* |
|  |  | 10.15. Freezing point | БДС 1751* |
| 11. | Natural gas (1), liquefied hydrocarbons (2) | 11.1. Component composition | БДС EN 27941 (EN 27941)* (2) СТ на СИВ 2103* (1) БДС EN ІSO 6974-6 (ISO 6974-6)* (1) |
|  |  | 11.2. Hydrogen sulphide | БДС 7926* (2) |
|  |  |  | БДС EN ІSO 8819 (ІSO 8819)*(2) |
|  |  |  | БДС 16027* (1) |
|  |  | 11.3. Mercaptan sulphur | БДС 16027* (1) |
|  |  | 11.4. Density | БДС EN ІSO 6976 (ІSO 6976)*(1) БДС EN ISO 8973+A1 (ISO 8973 +Amd 1)* (2) |
|  |  | 11.5. Relative density |  |
|  |  | 11.6. Calorific value | БДС EN ІSO 6976 (ІSO 6976)* (1) |
|  |  | 11.7. Saturated vapour pressure | БДС EN 589+A1 (EN 589+A1)* (2) БДС EN ISO 8973+A1 (ISO 8973 +Amd 1)* (2) |
|  |  | 11.8. Motor octane number | БДС EN 589+A1 (EN 589+A1)* (2) |
|  |  | 11.9. Wobbe index | БДС EN ISO 6976 (ІSO 6976)* (1) |
| 12. | Solid fuels 12.1. Coal: Anthracite (1) black (2), brown and lignite (3), briquettes (4), coke (5) | 12.1.1. Particle size distribution | БДС ІSO 1953 (ІSO 1953)* (1,2) |
|  |  | 12.1.2. Moisture (total) | БДС ІSO 589 (ІSO 589)* (1,2) БДС ІSO 579 (ІSO 579)* (5) БДС ІSO 5068-1 (ІSO 5068-1)* (3,4) |
|  |  | 12.1.3. Moisture (analytical) | БДС ISO 11722 (ISO 11722)* (1,2) БДС ІSO 5068-2 (ІSO 5068-2)* (3,4) БДС ІSO 687 (ІSO 687)* (5) |
|  |  | 12.1.4. Ash | БДС ІSO 1171 (ІSO 1171)* (1÷5) |
|  |  | 12.1.5. Volatile matter | БДС ІSO 562 (ІSO 562)* (1,2,5) БДС ІSO 5071-1 (ІSO 5071-1)* (3,4) |
|  |  | 12.1.6. Calorific value | БДС ІSO 1928 (ІSO 1928)* (1÷5) |
|  |  | 12.1.7. Carbon | БДС ISO 29541 (ISO 29541)* (1÷5) |
|  |  | 12.1.8. Sulphur/S | БДС ІSO 334 (ІSO 334)* (1,2,3,4,5) |
|  |  |  | БДС ІSO 19579 (ІSO 19579)* (1,2,3,4,5) |
|  |  | 12.1.9. Chlorine | БДС ІSO 587 (ІSO 587)* (1÷5) |
|  |  | 12.1.10. Nitrogen | БДС ISO 29541 (ISO 29541)* (1÷5) |
|  | 12.2. Solid recovered fuels | 12.2.1. Particle size distribution | БДС EN 15415-1 (EN 15415-1)* |
|  |  | 12.2.2. Moisture (total) | СД CEN/TS 15414-2 (CEN/TS 15414-2)* |
|  |  | 12.2.3. Moisture (analytical) | БДС EN ISO 21660-3 (ISO 21660-3)* |
|  |  | 12.2.4. Ash | БДС EN ISO 21656 (ISO 21656)* |
|  |  | 12.2.5. Volatile matter | БДС EN ISO 22167 (ISO 22167)* |
|  |  | 12.2.6. Calorific value / Heat of combustion | БДС EN ISO 21654 (ISO 21654)* |
|  |  | 12.2.7. Aluminium/Al | БДС EN 15410 (EN 15410)* |
|  |  | 12.2.8. Antimony/Sb | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.9. Arsenic/As | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.10. Barium/Ba | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.11. Beryllium/Be | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.12. Bromine/Br | БДС EN 15408 (EN 15408)* |
|  |  | 12.2.13. Vanadium/V | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.14. Carbon/C | БДС EN ISO 21663 (ISO 21663)* |
|  |  | 12.2.15. Iron/Fe | БДС EN 15410 (EN 15410)* |
|  |  | 12.2.16. Mercury/Hg | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.17. Cadmium/Cd | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.18. Potassium/K | БДС EN 15410 (EN 15410)* |
|  |  | 12.2.19. Calcium/Ca | БДС EN 15410 (EN 15410)* |
|  |  | 12.2.20. Cobalt/Co | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.21. Magnesium/Mg | БДС EN 15410 (EN 15410)* |
|  |  | 12.2.22. Manganese/Mn | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.23. Copper/Cu | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.24. Molybdenum/Mo | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.25. Sodium/Na | БДС EN 15410 (EN 15410)* |
|  |  | 12.2.26. Nickel/Ni | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.27. Lead/Pb | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.28. Selenium/Se | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.29. Silicon/Si | БДС EN 15410 (EN 15410)* |
|  |  | 12.2.30. Sulphur/S | БДС EN 15408 (EN 15408)* |
|  |  | 12.2.31. Thallium/Tl | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.32. Titanium/Ti | БДС EN 15410 (EN 15410)* |
|  |  | 12.2.33. Phosphorus/P | БДС EN 15410 (EN 15410)* |
|  |  | 12.2.34. Fluorine/F | БДС EN 15408 (EN 15408)* |
|  |  | 12.2.35. Chlorine/Cl | БДС EN 15408 (EN 15408)* |
|  |  | 12.2.36. Chromium/Cr | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.37. Zinc/Zn | БДС EN 15411 (EN 15411)* |
|  |  | 12.2.38. Pesticides: Polychlorinated biphenyls | БДС EN 17322 (EN 17322)*, ** |
|  |  | 12.2.39. Nitrogen/N | БДС EN ISO 21663 (ISO 21663)* |
|  |  | 12.2.40. Kjeldahl Nitrogen | БДС EN 13342 (EN 13342)* |
|  | 12.3 Biofuels: biomass (1), pellets (2), briquettes (3), charcoal (4) | 12.3.1. Particle size distribution | ISO 18846* (2) БДС EN ISO 17827-2 (ISO 17827-2)* (1) |
|  |  | 12.3.2. Length | БДС EN ISO 17829 (ISO 17829)* (2) |
|  |  | 12.3.3. Diameter | БДС EN ISO 17829 (ISO 17829)* (2) |
|  |  | 12.3.4. Bulk density | БДС EN ISO 17828 (ISO 17828)* (2) |
|  |  | 12.3.5. Moisture (total) | БДС EN ISO 18134-2 (ISO 18134-2)* (1÷4) БДС ISO 579 (ІSO 579)* (4) |
|  |  | 12.3.6. Moisture (analytical) | БДС EN ISO 18134-3 (ISO 18134-3)*(1÷4) БДС ІSO 687 (ІSO 687)* (4) |
|  |  | 12.3.7. Ash | БДС EN ISO 18122 (ISO 18122)* (1÷4) БДС ІSO 1171 (ІSO 1171)* (4) |
|  |  | 12.3.8. Volatile substances | БДС ІSO 562 (ІSO 562)* (4) БДС EN ISO 18123 (ISO 18123)* (1÷4) |
|  |  | 12.3.9. Fixed carbon | БДС EN 1860-2 (EN 1860-2)* (4) |
|  |  | 12.3.10. Calorific value / Heat of combustion | БДС ІSO 1928 (ІSO 1928)* (4) БДС EN ISO 18125 (ISO 18125)* (1÷4) |
|  |  | 12.3.11. Kjeldahl Nitrogen | БДС EN 13342 (EN 13342)*(1,2) |
|  |  | 12.3.12. Antimony/Sb | ETC 7.1-37/2014 (1÷3) |
|  |  |  | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.13. Arsenic/As | ETC 7.1-37/2014 (1÷3) |
|  |  |  | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.14. Barium/Ba | ETC 7.1-37/2014 (1÷3) |
|  |  | 12.3.15. Beryllium/Be | ETC 7.1-37/2014 (1÷3) |
|  |  | 12.3.16. Vanadium/V | ETC 7.1-37/2014 (1÷3) |
|  |  |  | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.17. Carbon/C | БДС EN ISO 16948 (ISO 16948)* (1÷4) |
|  |  | 12.3.18. Iron/Fe | ETC 7.1-37/2014 (1÷3) |
|  |  | 12.3.19. Mercury/Hg | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.20. Cadmium/Cd | ETC 7.1-37/2014 (1÷3) |
|  |  |  | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.21. Potassium/K | ETC 7.1-37/2014 (1÷3) |
|  |  | 12.3.22. Calcium/Ca | ETC 7.1-37/2014 (1÷3) |
|  |  | 12.3.23. Cobalt/Co | ETC 7.1-37/2014 (1÷3) |
|  |  |  | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.24. Magnesium/Mg | ETC 7.1-37/2014 (1÷3) |
|  |  | 12.3.25. Manganese/Mn | ETC 7.1-37/2014 (1÷3) |
|  |  |  | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.26. Copper/Cu | ETC 7.1-37/2014 (1÷3) |
|  |  |  | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.27. Molybdenum/Mo | ETC 7.1-37/2014 (1÷3) |
|  |  |  | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.28. Sodium/Na | ETC 7.1-37/2014 (1÷3) |
|  |  | 12.3.29. Nickel/Ni | ETC 7.1-37/2014 (1÷3) |
|  |  |  | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.30. Lead/Pb | ETC 7.1-37/2014 (1÷3) |
|  |  |  | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.31. Sulphur/S | ETC 7.3-4/2014 (1÷4) |
|  |  |  | БДС EN ISO 16994 (cl. 8.1.1 and cl. 8.2.1) (ISO 16994 (cl. 8.1.1 and cl. 8.2.1)* (1÷3) |
|  |  | 12.3.32. Thallium/Tl | ETC 7.1-37/2014 (1÷3) |
|  |  | 12.3.33. Titanium/Ti | ETC 7.1-37/2014 (1÷3) |
|  |  | 12.3.34. Phosphorus/P | ETC 7.1-37/2014 (1÷3) |
|  |  | 12.3.35. Chlorine/Cl | БДС EN ISO 16994 (cl. 8.1.1 and cl. 8.2.1) (ISO 16994 (cl. 8.1.1 and cl. 8.2.1)* (1÷3) |
|  |  | 12.3.36. Chromium/Cr | ETC 7.1-37/2014 (1÷3) |
|  |  |  | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.37. Zinc/Zn | ETC 7.1-37/2014 (1÷3) |
|  |  |  | БДС EN ISO 16968 (ISO 16968)* (1÷3) |
|  |  | 12.3.38. Nitrogen/N | БДС EN ISO 16948 (ISO 16948)* (1,2,3) |
| 13. | Metals, alloys, articles, jewelry alloys | 13.1. Chemical elements from Na to U | ETC 7.2.1-28/2010 ISO 22309* |
|  |  | 13.2. Carbon | ETC 7.3-22/2010 |
| 14. | Wastes | 14.1. рН | БДС EN ІSO 10523 (ІSO 10523)* БДС EN ІSO 10390 (ІSO 10390)* |
|  |  | 14.2. Electrical conductivity | БДС EN 27888 (cl. 7.2) (EN 27888 (cl. 7.2)* СД CEN/TS 15937 (CEN/TS 15937)* |
|  |  | 14.3. Dry matter/ Dry residue | БДС EN 15934 (Method А) (EN 15934 (Method А)* БДС EN 12880 (EN 12880)* |
|  |  | 14.4. Dissolved solids (TDS)/ Total dissolved solids (TDS) | БДС 17.1.4.04* |
|  |  |  | БДС EN 15216 (EN 15216)* |
|  |  | 14.5. Moisture - (total) - (analytical) | БДС EN 12880 (EN 12880)* |
|  |  |  | СД CEN/TS 15414-2 (CEN/TS 15414-2)* |
|  |  |  | БДС EN ISO 21660-3 (ISO 21660-3)* |
|  |  | 14.6. Loss on ignition | БДС EN 15935 (EN 15935)* ETC 7.1-3/2022 |
|  |  | 14.7. Particle size distribution | БДС ISO 2591-1 (ISO 2591-1)* БДС EN 15428 (EN 15428)* СД CEN/TS 16202 (CEN/TS 16202)* |
|  |  | 14.8. Alkalinity | ETC 7.1.3-6/2014 |
|  |  | 14.9. Nitrogen/N | БДС EN ISO 21663 (ISO 21663)* |
|  |  | 14.10. Kjeldahl Nitrogen | БДС EN 16169 (EN 16169)* |
|  |  | 14.11. Ammonium (NH4+) | ETC 7.1.3-18/2010 |
|  |  | 14.12. Nitrogen ammonium (N-NH4+) | ETC 7.1.3-18/2010 |
|  |  |  | ISO/TS 14256-1* |
|  |  | 14.13. Nitrites | БДС EN ІSO 10304-1 (ІSO 10304-1)* |
|  |  | 14.14. Nitrite nitrogen (N-NO2-) | БДС EN ІSO 10304-1 (ІSO 10304-1)* |
|  |  | 14.15. Nitrates | БДС EN ІSO 10304-1 (ІSO 10304-1)* |
|  |  | 14.16. Nitrate nitrogen (N-NO3-) | БДС EN ІSO 10304-1 (ІSO 10304-1)* |
|  |  |  | ISO/TS 14256-1* |
|  |  | 14.17. Chlorine/Cl | БДС EN 15408 (EN 15408)* |
|  |  | 14.18. Chlorides | БДС EN ІSO 10304-1 (ІSO 10304-1)* |
|  |  | 14.19. Sulphates | БДС EN ІSO 10304-1 (ІSO 10304-1)* |
|  |  | 14.20. Phosphorus/P - expressed as P2O5 | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 15309 (EN 15309)* |
|  |  |  | БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  | 14.21. Phosphates/ Orthophosphates | ETC 7.1.3-21/2021 (cl. 8.2.1) |
|  |  |  | БДС EN ІSO 10304-1 (ІSO 10304-1)* |
|  |  | 14.22. Phosphates such as Phosphorus (PO43--P) | ETC 7.1.3-21/2021 (cl. 8.2.1) |
|  |  |  | БДС EN ІSO 10304-1 (ІSO 10304-1)* |
|  |  | 14.23. Fluorine /F | БДС EN 15408 (EN 15408)* |
|  |  | 14.24. Fluorides | БДС EN ІSO 10304-1 (ІSO 10304-1)* |
|  |  | 14.25. Bromine/Br | БДС EN 15408 (EN 15408)* |
|  |  | 14.26. Bromides | БДС EN ІSO 10304-1 (ІSO 10304-1)* |
|  |  | 14.27. Cyanides (free) | ETC 7.1.3-41/2021 |
|  |  | 14.29. Cyanides (easily liberatable) | ІSO 6703-2 (Section 2/ Section 2)* |
|  |  | 14.30. Cyanides (total) | БДС ІSO 6703-1 (Section 2) (ІSO 6703-1 (Section 2)* |
|  |  |  | ІSO 11262* |
|  |  | 14.31. Absorbable organic halogens (AOX) | ETC 7.1.3-26/2010 |
|  |  | 14.32. Aluminium/Al | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 16170 (EN 16170)* |
|  |  |  | EPA 6010D* |
|  |  |  | БДС EN 15309 (EN 15309)* |
|  |  | 14.33. Antimony/Sb | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  | 14.34. Arsenic/As | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  | 14.35. Barium/Ba | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  | 14.36. Beryllium/Be | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  | 14.37. Bismuth/Bi | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | EPA 6010D* |
|  |  | 14.38. Boron/B | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  | 14.39. Vanadium/V | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  | 14.40. Tungsten/W | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | EPA 6010D* |
|  |  | 14.41. Carbon/C - Total carbon (TC) - Total organic carbon (ТОС) | БДС EN ISO 21663 (ISO 21663)* |
|  |  |  | ETC 7.3-2/2016 БДС EN 15936 (Method В) (EN 15936 (Method B)* |
|  |  |  | ETC 7.1.3-27/2010 БДС EN 1484 (EN 1484)* |
|  |  |  | ETC 7.3-2/2016 |
|  |  |  | БДС EN 15936 (Method В) (EN 15936 (Method B)* |
|  |  | - Dissolved Organic Carbon (DOC) - Total inorganic carbon (TIC) | ETC 7.1.3-27/2010 БДС EN 1484 (EN 1484)* |
|  |  |  | ETC 7.3-2/2016 |
|  |  | 14.42. Gallium/Ga | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  | 14.43. Iron/Fe | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  |  | БДС EN 15309 (EN 15309)* |
|  |  | 14.44. Mercury/Hg | ETC 7.1-40/2016 БДС EN ISO 17852 (ISO 17852)* |
|  |  |  | БДС EN 16175-2 (EN 16175-2)* ETC 7.1-16/2014 |
|  |  |  | БДС EN 15411 (EN 15411)* |
|  |  | 14.45. Gold | ETC 7.1-42/2016 (cl. 8.2.5) |
|  |  |  | ETC 7.1-42/2016 (cl. 8.2.4.1) |
|  |  |  | ETC 7.1-42/2016 (cl. 8.2.4.2) |
|  |  |  | ETC 7.1-4/2017 (cl. 8.2.2) |
|  |  |  | ETC 7.1-4/2017 (cl. 8.2.1) |
|  |  | 14.46. Yttrium /Y | EPA 6010D* |
|  |  | 14.47. Cadmium/Cd | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  | 14.48. Tin/Sn | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  | 14.49. Potassium/K - expressed as K2O | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 15309 (EN 15309)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  | 14.50. Calcium/Ca - expressed as CaO | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 15309 (EN 15309)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  | 14.51. Cobalt/Co | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  | 14.52. Lanthanum/La | EPA 6010D* БДС EN 16170 (EN 16170)* |
|  |  | 14.53. Lithium/Li | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  | 14.54. Magnesium/Mg - expressed as MgO | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 15309 (EN 15309)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  | 14.55. Manganese/Mn | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  |  | БДС EN 15309 (EN 15309)* |
|  |  | 14.56. Copper/Cu | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 EPA 6010D* БДС EN 16170 (EN 16170)* БДС EN 15411 (EN 15411)* |
|  |  |  | ETC 7.1-10/2017 |
|  |  |  | БДС EN 15309 (EN 15309)* |
|  |  | 14.57. Molybdenum/Mo | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  |  | БДС EN 15309 (EN 15309)* |
|  |  | 14.58. Sodium/Na | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  |  | БДС EN 15309 (EN 15309)* |
|  |  | 14.59. Nickel/Ni | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  | 14.60. Lead/Pb | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  | 14.61. Palladium/Pd | ETC 7.1-42/2016 (cl. 8.2.5) |
|  |  | 14.62. Platinum/Pt | ETC 7.1-42/2016 (cl. 8.2.5) |
|  |  | 14.63. Selenium/Se | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 15411 (EN 15411)* БДС EN 16170 (EN 16170)* |
|  |  | 14.64. Silicon/Si | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 15309 (EN 15309)* |
|  |  | 14.65. Silver/Ag | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  |  | ETC 7.1-13/2016 |
|  |  | 14.66. Strontium/Sr | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  | 14.67. Sulphur/S - (total) - (sulphide) - (sulphate) | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 15408 (EN 15408)* |
|  |  |  | ETC 7.3-7/2018 |
|  |  |  | ETC 7.1-25/2017 |
|  |  |  | ETC 7.1-25/2017 |
|  |  | 14.68. Thallium/Tl | БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  | 14.69. Tellurium/Te | БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  | 14.70. Titanium/Ti | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  |  | БДС EN 15309 (EN 15309)* |
|  |  | 14.71. Chromium (total) /Cr | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  | 14.72. Chromium (hexavalent)/ Cr6+ | ІSO 11083 (cl. 7.1)* |
|  |  | 14.73. Zinc/Zn | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | ETC 7.1-38/2014 БДС EN 16170 (EN 16170)* EPA 6010D* БДС EN 15411 (EN 15411)* |
|  |  | 14.74. Zirconium/Zr | БДС EN ІSO 11885 (cl. 9.5.1) (ІSO 11885 (cl. 9.5.1)* |
|  |  |  | БДС EN 16170 (EN 16170)* EPA 6010D* |
|  |  | 14.75. Silicon dioxide/SiO2 14.76. Dialuminum trioxide/Al2O3 14.77. Magnesium oxide/MgO 14.78. Disodium oxide/Na2O 14.79. Titanium Dioxide/TiO2 14.80. Diiron trioxide/Fe2O3 14.81. Dipotassium oxide/K2O 14.82. Calcium oxide/CaO 14.83. Manganese oxide/MnO 14.84. Diphosphorus pentoxide/P2O5 | ETC 7.1-3/2022 |
|  |  | 14.85. Chemical elements from Na to U | ETC 7.2.1-28/2010 ISO 22309* |
|  |  | 14.86. Phenol index | БДС ІSO 6439 (Method А, Method В) (ІSO 6439 (Method A, Method B)* |
|  |  |  | ETC 7.3-10/2021 |
|  |  | 14.87. Petroleum products /non-polar hydrocarbons С10-С40/ | БДС EN 14039 (EN 14039)* |
|  |  | 14.89. Volatile organic compounds (VOC) | EPA 5021A*, ** |
|  |  | 14.90. Polycyclic aromatic hydrocarbons (РАН) | БДС EN 17503 (EN 17503)* |
|  |  | 14.91. Pesticides: 14.91.1. Polychlorinated biphenyls 14.91.2. Organochlorine pesticides | БДС EN 17322 (EN 17322)*, ** ETC 7.3-6/2020** |
|  |  |  | ETC 7.3-6/2020** |
|  |  | 14.92. Fats (vegetable oils and animal fats) | ETC 7.3-31/2012 |
|  |  | 14.93. Calorific value / Heat of combustion | СД CEN/TS 16023 (CEN/TS 16023)* |
|  |  |  | БДС EN ISO 21654 (ISO 21654)* |
|  |  | 14.94. Neutralization potential ratio (NPR) | БДС EN 15875 (EN 15875)* |
|  |  | 14.95. Acid neutralization capacity (ANC) | СД CEN/TS 15364 (CEN/TS 15364)* |
|  |  | 14.96. Ash | БДС EN ISO 21656 (ISO 21656)* |
|  |  | 14.97. Volatile matter | БДС EN ISO 22167 (ISO 22167)* |
| 15. | Thin layers (including picturesque) (1), glasses (2), micro-particles with sizes from 0.1μm to 100 μm (3) | 15.1. Chemical elements from Na to U | ETC 7.2.1-28/2010 (1÷3) ISO 22309 (1÷3)* |
| 16. | Xanthogenate | 16.1. Water | ETC 7.3-30/2012 |
|  |  | 16.2. Purity (Xanthogenate content) | ETC 7.1.3-42/2012 |
| 17. | Adhesives | 17.1. Tensile adhesion strength: - initial - after water immersion - after heat ageing - after freeze/thaw cycles | БДС EN 12004-2 (cl. 8.3) (EN 12004-2 (cl. 8.3)* |
|  |  | 17.2. Shear adhesion strength: - initial - after water immersion - after hear ageing - after thermal shock - at elevated temperature | БДС EN 12004-2 (cl. 8.4 and cl. 8.5) (EN 12004-2 (cl. 8.4 and 8.5)* |
|  |  | 17.3. Open time, by using tensile strength | БДС EN 12004-2 (cl. 8.1) (EN 12004-2 (cl. 8.1)* |
|  |  | 17.4. Slip | БДС EN 12004-2 (cl. 8.2) (EN 12004-2 (cl. 8.2)* |
| 18. | Mortars and dry mixtures for finishing | 18.1. Compressive strength | БДС EN 12190 (EN 12190)* |
|  |  |  | БДС EN 1015-11 (ЕN 1015-11)* |
|  |  |  | БДС EN 13888-2 (EN 13888-2)* |
|  |  |  | БДС EN 13892-2 (EN 13892-2)* |
|  |  | 18.2. Water absorption/ coefficient due to capillary water absorption/ capillary water absorption or liquid water permeability | БДС EN 12808-5 (EN 12808-5)* |
|  |  |  | БДС EN 1015-18 (ЕN 1015-18)* |
|  |  |  | БДС EN 13057 (EN 13057)* |
|  |  |  | БДС EN 1062-3 (EN 1062-3)* |
|  |  | 18.3. Tensile adhesive strength / adhesive strength | БДС EN 1015-12 (EN 1015-12)* |
|  |  |  | БДС EN 1542 (EN 1542)* |
|  |  |  | БДС EN 13892-8 (EN 13892-8)* |
|  |  | 18.4. Adhesive strength after thermal compatibility | БДС EN 13687-1 (EN 13687-1)* |
|  |  |  | БДС EN 13687-3 (EN 13687-3)* |
|  |  | 18.5. Dry bulk density of hardened mortar | БДС EN 1015-10+A1 (ЕN 1015-10+A1)* |
| 19. | Building lime | 19.1. Free water | БДС EN 459-2 (cl. 5.4) (EN 459-2 (cl. 5.4)* |
|  |  | 19.2. Calcium oxide/CaO | БДС EN 459-2 (cl. 5.2) (EN 459-2 (cl. 5.2)* |
|  |  | 19.3. Magnesium oxide/MgO | БДС EN 459-2 (cl. 5.2) (EN 459-2 (cl. 5.2)* |
|  |  | 19.4. Total СаО and МgО content | БДС EN 459-2 (cl. 5.2) (EN 459-2 (cl. 5.2)* |
|  |  | 19.5. Loss on ignition | БДС EN 459-2 (cl. 5.7) (EN 459-2 (cl. 5.7)* |
|  |  | 19.6. Sulphates (expressed as SO3) | БДС EN 459-2 (item 5.3) (EN 459-2 (item 5.3)* |

To perform sampling of:

| Type of the scope: flexible for part of the scope |
| --- |
| № | Product | Sampling method (standardized/ validated) |
| 1 | 2 | 3 |
|  | Water: drinking (1), mineral (2), surface (З), ground (4), from swimming pools (5), waste (6) | БДС ІSO 5667-4 (ІSO 5667-4)* (3, 5), БДС ІSO 5667-5 (ІSO 5667-5)* (1, 2), БДС EN ІSO 5667-6 (ІSO 5667-6)* (3), БДС ІSO 5667-10 (ІSO 5667-10)* (6), БДС ІSO 5667-11 (ІSO 5667-11)* (4), БДС EN ІSO 19458 (ІSO 19458)* (1÷4) |
|  | Soils (1), sludge and sediments (2) | БДС 17.4.5.01* (1), БДС ISO 18400-102 (ISO 18400-102)* (1), БДС ІSO 5667-12 (ІSO 5667-12)* (2), БДС EN ІSO 5667-13 (ІSO 5667-13)* (2) |
|  | Ores and products from processing thereof | БДС ІSO 12743 (ІSO 12743)* |
|  | Petroleum products | БДС EN ІSO 3170 (ІSO 3170)* |
|  | Natural gas and liquefied hydrocarbons | БДС EN ІSO 10715 (ІSO 10715)* |
|  | Solid biofuels | БДС EN ISO 18135 (ISO 18135)* |
|  | Wastes | СД CEN/TR 15310-2 (CEN/TR 15310-2)*, БДС EN 12579 (EN 12579)* |
|  | Concrete | БДС EN 12350-1 (EN 12350-1)* |
|  | Rocks and aggregates | БДС EN 932-1 (EN 932-1)*, БДС EN 13286-1 (EN 13286-1)* |
|  | Cement | БДС EN 196-7 (EN 196-7)* |

*Flexible scope: Implementing a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

** Within its competence, the laboratory is authorized to determine all characteristics (column 3) according to the marked test methods (column 4) belonging to the product group (column 2) after verification/validation, CRM/RM presence and calibrated technical equipment. The laboratory maintains a detailed, dated list of products and characteristics belonging to the products and characteristics mentioned in the scope of accreditation.

*** Repealed but not replaced testing methods.

Fixed scope:

References:

| ETC 7.1.3-1/2021 | Water. Determination of metasilicic acid and silicon dioxide content. |
| --- | --- |
| ETC 7.1.3-10/2014 | Water. Determination of free carbon dioxide (CO2) and acidity content. |
| ETC 7.1.3-11/2010 | Soils, sludge and sediments. Determination of humus content by I.V.Turin method. |
| ETC 7.1.3-13/2010 | Soils. Determination of the content of mobile forms of potassium and phosphorus. Acetate-lactate method. |
| ETC 7.1.3-16/2021 | Water, liquid waste and eluates, water extract from soils, sludge and sediments. Nitrite content determination method. Photometric method. |
| ETC 7.1.3-17/2010 | Water, liquid waste and eluates, water extract from soils, sludge and sediments. Nitrate content determination method. Photometric method. |
| ETC 7.1.3-18/2010 | Water, liquid waste and eluates, water extract from soils, sludge and sediments. Ammonium content determination method. Photometric method. |
| ETC 7.1.3-19/2010 | Water, liquid waste and eluates. Total nitrogen content determination method. Photometric method. |
| ETC 7.1.3-20/2010 | Water. Method for determining free and total chlorine content. Photometric method. |
| ETC 7.1.3-21/2021 | Water, liquid waste and eluates, water extract from soils, sludge and sediments. Ortho-phosphates content determination method. Photometric method. |
| ETC 7.1.3-22/2010 | Water, liquid waste and eluates. Hydrogen sulphides (HS-) and sulphides (S2-) content determination method. Photometric method. |
| ETC 7.1.3-23/2010 | Water, liquid waste and eluates, water extraction from soils, sludge and sediments. Method for determination of fluoride content. Photometric method. |
| ETC 7.1.3-25/2010 | Water. COD (chemical oxygen demand) content determination method. Photometric method. |
| ETC 7.1.3-26/2010 | Water. AOX (absorbable organic halogens) content determination method. Photometric method. |
| ETC 7.1.3-27/2010 | Water, liquid waste and eluates. TOC (Total organic carbon) and DOC (Dissolved Organic Carbon) content determination method. Photometric method. |
| ETC 7.1.3-28/2021 | Water. Determination of turbidity. Spectrophotometric method. |
| ETC 7.1.3-29/2010 | Water. Determination of natural uranium content. Luminescence method. |
| ETC 7.1.3-30/2021 | Water. Determination of natural uranium content. Spectrophotometric method. |
| ETC 7.1.3-31/2010 | Water extract from soils, sludge and sediments. Titrimetric method for determination of calcium and magnesium. |
| ETC 7.1.3-35/2010 | Water extract from soils, sludge and sediments. Determination of fluorides, chlorides, nitrites, nitrates, phosphates and sulphates by liquid chromatography. |
| ETC 7.1.3-39/2010 | Paper and cardboard. Determination of chromium hexavalent. Photometric method. |
| ETC 7.1.3-40/2010 | Sludge and sediments. Determination of easy volatile, complex and total cyanides. Photometric method |
| ETC 7.1.3-41/2021 | Waters, liquid wastes and eluates. Determination of free cyanides. Spectrophotometric method. |
| ETC 7.1.3-42/2012 | Xanthogenate. Determination of purity. |
| ETC 7.1.3-44/2014 | Water. Determination of total mineralization. |
| ETC 7.1.3-45/2021 | Water. Determination of аnionic surfactants. |
| ETC 7.1.3-49/2021 | Water. Determination of bromates by spectrophotometric method. |
| ETC 7.1.3-5/2014 | Water. Determination of meta-boric acid content. |
| ETC 7.1.3-6/2014 | Water, liquid waste and eluates, water extract from soils, sludge and sediments. Determination of the content of carbonates, hydrocarbons, alkalinity and carbonate hardness. |
| ETC 7.1.3-7/2014 | Water. Determination of bromides content. |
| ETC 7.1.3-8/2014 | Water. Determination of iodides content. |
| ETC 7.1-10/2017 | Natural materials, soils, sludge, sediments and wastes. Determination of copper content by Atomic Absorption Spectrometry Method (AAS) |
| ETC 7.1-13/2016 | Determination of the silver content in solid natural and industrial materials by Atomic Absorption Spectrometry Method (AAS). |
| ETC 7.1-16/2014 | Natural materials, sludge and sediments, wastes. Determination of mercury by cold vapor atomic absorption spectrometry (CVAAS). |
| ETC 7.1-18/2017 | Silicate analysis by inductively coupled plasma atomic emission spectrometry (ICP-AES). Determination of moisture and loss on ignition. |
| ETC 7.1-25/2017 | Solid natural materials and products from technological processing. Combustion method for determining sulphide sulphur and sulphate sulphur. |
| ETC 7.1-28/2017 | Determination of water-soluble, accessible and exchangeable forms of the elements by inductively coupled plasma atomic emission spectrometry (ICP-AES). |
| ETC 7.1-29/2019 | Determination of elements content by inductively coupled plasma atomic emission spectrometry (ICP-AES). |
| ETC 7.1-3/2022 | X-ray fluorescence analysis. Determination of elements and their oxides. |
| ETC 7.1-33/2010 | Natural materials and soils. Determination of water soluble forms of mercury. Cold vapor atomic absorption spectrometry (CVAAS). |
| ETC 7.1-37/2014 | Biofuels, biomass. Determination of elements content by inductively coupled plasma atomic emission spectrometry (ICP-AES). |
| ETC 7.1-38/2014 | Solid waste. Determination of elements content by inductively coupled plasma atomic emission spectrometry (ICP-AES). |
| ETC 7.1-4/2017 | Natural materials, soils, sludge and sediments. Determination of gold content by Atomic Absorption Spectrometry Method (AAS). |
| ETC 7.1-40/2016 | Determination of mercury content in water. Cold vapor atomic absorption spectrometry (CVAAS). |
| ETC 7.1-41/2016 | Determination of copper content in solid natural and production industrial materials. Titrimetric method of analysis. |
| ETC 7.1-42/2016 | Determination of elements in solid natural and industrial materials after fire assay method. |
| ETC 7.1-53/2018 | Water. Determination of uranium content by inductively coupled plasma optic emission spectrometry (ICP-OES). |
| ETC 7.2.1-28/2010 | Metals, alloys, ferroalloys, articles, jewelry alloys and articles made out of them, thin layers, glass, micro-particles with sizes from 0.1 μm to 100 μm. Determination of chemical composition by scanning electron microscopy and X-ray microanalysis. |
| ETC 7.2.1-30/2010 | Rocks and minerals. Mono layer shear with pressure in inclined matrices (Fisenko shearing method). |
| ETC 7.3-1/2020 | Water. Determination of Volatile Organic Compounds (VOC) |
| ETC 7.3-10/2021 | Water. Determination of phenols and phenol index. Photometry method. |
| ETC 7.3-15/2010 | Ores and concentrates. Determination of sulphur content by element analyzer. |
| ETC 7.3-2/2016 | Soils, rocks and minerals, sludge and sediments and solid wastes. Determination of total carbon, total organic carbon and total inorganic carbon. |
| ETC 7.3-22/2010 | Ores and concentrates, metals and alloys. Determination of carbon content by element analyzer. |
| ETC 7.3-23/2016 | Water. Determination of the content of total extractable hydrocarbons by C10-C40/ by gas chromatography (GC-FID). |
| ETC 7.3-24/2010 | Soils, sludge and sediments. Determination of sulphur trioxide content by “Leco SC-32” analyzer. |
| ETC 7.3-25/2010 | Wastes. Determination of calorific value by calorimeter LTK-10 type . |
| ETC 7.3-26/2010 | Sludge and sediments. Determination of the content of petroleum products/non-polar hydrocarbons C10-C40 /by gas chromatograph (GC-FID). |
| ETC 7.3-28/2020 | Water. Determination of organochlorine pesticides, polychlorinated biphenyls and chlorobenzenes. |
| ETC 7.3-29/2020 | Water. Determination of organonitrogen and organophosphorus pesticides. |
| ETC 7.3-3/2014 | Soils, sludge and sediments and solid wastes. Determination of total extractable hydrocarbons /C10 – C40/ by gas chromatography (GC-FID). |
| ETC 7.3-30/2012 | Xanthogenate. Determination of water content according to Karl Fisher method by volume titration. |
| ETC 7.3-31/2012 | Determination of fat content (vegetable and animal) in water, soils and wastes. |
| ETC 7.3-4/2014 | Coal, biofuels, solid recovered fuels. Determination of sulphur. |
| ETC 7.3-5/2014 | Petroleum products. Determination of sulphur. |
| ETC 7.3-6/2020 | Soils, sludge and sediments. Determination of polychlorinated biphenyls, chlorobenzenes and organochlorine pesticides. |
| ETC 7.3-7/2018 | Rocks and minerals, sludge and sediments, solid waste. Determination of sulphur. |