SCOPE 115 ЛИ

Sofia, 08.01.2024

Independent medical and diagnostic laboratory RAMUS LTD

Analytical laboratory

Management address: 1527 Sofia, Oborishte, 2-4 Angista Str.

Laboratory address:  1592 Sofia, Iskar, 26 Dimitar Spisarevski Str.

To perform testing of:

| Type of the scope: flexible* |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Samples of human blood, blood plasma or serum | Concentration of active substances and their metabolites, except vaccines and immunological medicinal products obtained from human blood or human plasma* | VLM -01:2015 |

*Flexible scope: Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Within the framework of its competency the laboratory is authorized to determine all characteristics (column 3) belonging to the group of the product (column 2) after inspection /verification, provision of CRM/RM and calibrated technical means. The laboratory maintains a detailed dated list of the characteristics belonging to the products mentioned in the accreditation scope.

References:

VLM-01:2015 Method for determining concentration of active substances and/or their metabolites in human blood, human plasma or serum by high-efficient liquid chromatography (UV-VIS and FLD detectors)