SCOPE 229 ЛИ

Sofia, 30.01.2024

of Aurubis Bulgaria AD, Analytical Laboratories

Management and laboratory address:

2070 Pirdop, Sofia-Region, Industrial area

To perform testing of:

| Type of the scope: flexible for a part of the scope |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Water - surface, underground, waste industrial and domestic-fecal. | 1.1. Active reaction, pH | БДС EN ISO 10523 |
|  |  | 1.2. Arsenic, Molybdenum, Calcium, Sulphur, Iron, Copper, Selenium, Zinc, Cadmium, Lead, Nickel, Bismuth, Antimony, Chrome, Manganese, Tin | БДС EN ISO 11885 |
|  |  | 1.3. Arsenic, Molybdenum, Copper, Selenium, Zinc, Cadmium, Lead, Nickel, Bismuth, Antimony, Chrome, Manganese, Cobalt, Vanadium, Thallium | БДС EN ISO 17294-2 |
|  |  | 1.4. Iron | ВВЛМ 1/2014 |
|  |  | 1.5 Dissolved substances | БДС 17.1.4.04 |
|  |  | 1.6. Undissolved substances (Suspended substances) | БДС 17.1.4.04 БДС EN 872 |
|  |  | 1.7. Dry residue | БДС 17.1.4.04 |
|  |  | 1.8. Sulphates | БДС 17.1.4.03 БДС EN ISO 10304-1 |
|  |  | 1.9. Chemical oxygen demand | ISO 15705/ cl.4.2 |
|  |  | 1.10. Biological Oxygen Demand 5 (BOD5) | ВВЛМ 2/2006 |
|  |  | 1.11. Hydrocarbon index for petrol products | БДС EN ISO 9377-2 |
|  |  | 1.12. Mercury | EPA 7473 |
| 2. | Emissions from stationary sources | 2.1. Total dust | БДС EN 13284-1 БДС ISO 9096 |
|  |  | 2.2. Arsenic, Cadmium, Chrome, Copper, Manganese, Nickel, Lead, Antimony, Cobalt, Thallium, Vanadium, | БДС EN 14385 |
| 3. | Free air | 3.1. Particulate matter (PM10) | БДС EN 12341 |
|  |  | 3.2. Arsenic, Cadmium, Nickel, Lead, Copper - PM10 | ВВЛМ 3/2013 |
|  |  | 3.3. Arsenic, Cadmium, Nickel, Lead, - PM10 | БДС EN 14902 |
| 4. | Ores, minerals, concentrates, charges | 4.1. Carbon | ВВЛМ 5/2023 |
| 5. | Soils | 5.1. Active reaction, pH / pH (H2O) | БДС EN ISO 10390 |
|  |  | 5.2. Arsenic, Cadmium, Copper, Iron, Lead, Zinc, Selenium | ISO 22036 |

To perform sampling of:

| Type of scope: flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1 | Emissions from stationary sources | БДС EN 13284-1 БДС ISO 9096 |
| 2. | Atmospheric air | БДС EN 12341 |

Flexible scope: Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Fixed scope references:

IVLM 1/2014 Quality of water. Application of mass-spectrometry with inductively connected plasma (ICP-MS). Determination of Iron.

IVLM 2/2006 Photometric method with test Spectroquant for determination of BOD5 content in water.

IVLM 3/2013 Method for measuring Pb, Cd, As, Cu and Ni in PM10 of solid particulates in the air.

IVLM 5/2023 Method for determining total carbon in dust samples by infrared analyzer ELTRA ELEMENTRAC HTFR.