**SCOPE 6 ЛИК**

**Sofia, 13.10.2023**

**Business Innovation Center – IZOT AD**

**Testing Center of Electronic and Office Equipment**

**Management address:** 1784 Sofia, 133 Tsarigradsko Shosse Blvd

**Laboratory address:** 1784 Sofia, 133 Tsarigradsko Shosse Blvd, Floor 4

**To perform testing of:**

| **Type of the scope**: *flexible* |
| --- |
| **№** | **Tested products** | **Type of test / characteristic** | **Testing methods****(standard / validated method)** |
| **1** | **2** | **3** | **4** |
| 1 | Audio/video, information and communication technology equipment | Protection from hazards (protection from electric shock and energy hazards)  | БДС ЕN 62368-1, cl. 5.3.2.1, cl. 5.3.2.2 |
| Voltage to accessible parts SELV circuits  | БДС ЕN 62368-1, cl. 5.2.2.2, cl. 5.2.2.4, cl. 5.2.2.5 |
| Protective eathing, transient resistance | БДС ЕN 62368-1, cl. 5.6 |
| Thermal requirements | БДС ЕN 62368-1, cl. 5.4.1.4 (5.4.1.4.2) |
| Touch current and protective conductor current  | БДС ЕN 62368-1, cl. 5.2.2.2, cl. 5.7.3, cl. 5.7.4, cl. 5.7.5 |
| Electric strength | БДС ЕN 62368-1, cl. 5.4.1.3, cl. 5.4.5, cl. 5.4.5.2, cl. 5.4.8, cl. 5.4.9.2 |
| Electric shock hazard under normal operating condition | БДС ЕN 62368-1, cl. 5.3.2.2 |
| Heating under normal operating conditions (temperature rise ΔT) | БДС ЕN 62368-1, cl. 5.4.1.4, cl. 5.4.1.10 |
| Leakage current | БДС ЕN 62368-1, cl. 5.3.2.2, cl. 5.7.2.1 |
| Moisture resistance of the insulation | БДС ЕN 62368-1, cl. 5.4.1.3, cl. 5.4.5, cl. 5.4.5.2, cl. 5.4.8 |
| Moisture resistance of the insulation | БДС ЕN 62368-1, cl. 5.4.1.3, cl. 5.4.5, cl. 5.4.5.2, cl. 5.4.8 |
| 2. | Household and similar electrical appliances | Protection against access to live parts | БДС EN 60335-1 and the relevant part 2, cl. 8 (cl. 8.1.1, 8.1.2 and 8.1.3) \* |
| Voltage of accessible parts - ELV | БДС EN 60335-1 and the relevant part 2, cl. 8.1.4\* |
| Rated current | БДС EN 60335-1 and the relevant part 2, cl. 10.2\* |
| Leakage current when using a protective impedance (accessible parts) Leakage current  | БДС EN 60335-1 and the relevant part 2, cl. 8.1.4 (IEC 60990) cl. 13\* |
| Electric strength | БДС EN 60335-1 and the relevant part 2, cl. 16.3 (БДС EN 61180-1)\* |
| Protective eathing, transient resistance  | БДС EN 60335-1 and the relevant part 2, cl. 27\* |
| 3. | Luminaries | Protection against indirect contact  (earthing means) | БДС EN 60598-1, cl. 7.2.3 |
| Insulation resistance | БДС EN 60598-1, cl. 10.2.1 |
| Thermal test (normal operation) | БДС EN 60598-1,cl. 12.4; 12.5; 12.6 |
| 4. | Medical electrical equipment | Protective earthing, transient resistance | БДС EN 60601-1, cl. 8.6 |
| Leakage current | БДС EN 60601-1, cl. 8.7 |
| Electric strength | БДС EN 60601-1, cl. 8.8 |
| 5. | Electrical equipment for measurement, controland laboratory use  | Determination of accessible parts (Protection against electric shock) | БДС ЕN 61010-1,cl. 6.2.1, 6.2.2, 6.2.3 |
| Limit values for accessible parts* voltage
 | БДС ЕN 61010-1,cl. 6.3.1 a) |
| * current levels (current per accessible part)
 | БДС ЕN 61010-1, cl. 6.3.1 b) (IEC 60990) |
| Protective bonding (earting), impedance of protective bonding  | БДС ЕN 61010-1, cl. 6.5.3.1 |
| Electric strength  | БДС ЕN 61010-1, cl. 6.8 (6.8.2 to 6.8.4) |
| 6. | Transformers, adaptors, power supply units and combinations thereof  | Protection against electric shock * touch voltage
 | БДС EN 61558-1, cl. 9.1 a) |
| * touch current
 | БДС EN 61558-1, cl. 9.1 b) |
| Insulation resistance  | БДС EN 61558-1, cl. 18.2 |
| Electric strength  | БДС EN 61558-1, cl. 18.3 |
| Protective eathing, transient resistance  | БДС EN 61558-1, cl. 24.4 |
| 7. |  Circuit-breakers for overcurrent protection for household and similar installations | Electric shock hazard  | БДС EN 60898, cl. 8.6 |
| Insulation resistance | БДС EN 60898, cl. 8.7 |
| Electric strength | БДС EN 60898, cl. 8.7 |
| 8. | Electrical equipment of machines  | Insulation resistance | БДС EN 60204-1, cl. 18.3 |
| Electric strength  | БДС EN 60204-1, cl. 18.4 |
| 9. | Toys | Determination of emission sound pressure levels | БДС EN 71-1, cl. 8.28 |
| 10. | Electric toys | Moisture resistance  | БДС EN 62115, cl. 11 |
| Electric strength | БДС EN 62115, cl. 12 |
| 11. | Electrical equipments | Degrees of protections provided by enclosures (IP code)* To hazardous parts
* against solid foreign objects
* against ingress of water
 | БДС EN 60529,cl. 12.2, Table Іcl. 13.2, Table ІІcl. 14.2.1 to cl. 14.2.6, Table ІІІ |
| 11. |  Electrical products, components and equipment (including taxis) | Testing Cab: Damp heat, steady state | БДС ЕN 60068-2-78 |
| Testing Db: Damp heat, cyclic | БДС ЕN 60068-2-30 |
| Testing B: Dry heat | БДС ЕN 60068-2-2 |
| Testing A: Cold type | БДС ЕN 60068-2-1 |

\* the relevant part 2 of the standards from БДС EN 60335-2-2 to БДС EN 60335-2-109

***\*\*Flexible scope:*** *Implementing a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.*

**To perform calibration of:**

|  |
| --- |
| **Type of the scope:** *fixed* |
| **№** | Type of measuring instrument | Measured quantuty, measurement unit | Measurementrange | Measurementuncertainty | Calibration method |
| **1** | **2** | **3** | **4** | **5** | **6** |
| 1. | Thermometers (liquid, digital) | Temperature°C | From -40 °Сto 0 °С | 0,07 °С to 0,08 °С | МК 504-01-01(2012) |
| From 0 °Сto 100 °С | 0,08 °С to 0,10 °С |
| From 100°Сto 150 °С | 0,10 °С to 0,25 °С |
| From 150 °Сto 200 °С | 0,25 °С to 0,40 °С |
| 2. | Higrometers for relative humidity  | Relative humidity,%RH | From 20% to 90% RH | From 1,9% to2,6% RH | МК 504-03-01 (2020)МК 504-04-01 (2020) |

Note: Calibration of the specified measuring instruments is performed in the laboratory.

**References:**

МК 504-1-01:2012 Calibration procedure to measurement instruments for measuring temperature

МК 504-3-01:2020 Calibration procedure to measurement instruments for measuring Relative humidity in the salt hygrostat

МК 504-4-01:2020 Calibration procedure to measurement instruments for measuring Relative humidity in the climatic chamber.